|  |  | Cost of Tender : 2000/- (Rs. Two Thousand only) |
| --- | --- | --- |

Bid Document

For

Providing and installation of Modular Operation Theatres in

Sir Sunderlal Hospital

on

Turn-key-basis

Sir Sunderlal Hospital

Institute of Medical Sciences

Banaras Hindu University,

Varanasi -221005

email: ms_bhu@sify.com

Ph: No. 0542-2369033, 2309200

Fax :    0542-2369115

BANARAS HINDU UNIVERSITY (Established by Parliament Notification No. 225 of 1916) Sir Sunderlal Hospital Varanasi -221 005

undertaking for check list

- List of major Govt./ Corporate Hospital where the firm has done the job of installation / renovation of Modular Operation Theatre. The job should not have been of less than Rs.5.0 crores for Modular O.T. installation / renovation.

- The enclosed certificates and profroma duly filled in and signed.

- Documentary evidence for the company’s turnover of last three consecutive years alongwith copy of the audited balance sheet.

- Demand Draft of  2,000/- (Tender Processing Fee) in favour of “The Registrar, BHU”, payable at Varanasi. (Non-refundable.)

- Demand Draft of  25,000/- (Bid Processing Fee) in favour of “The Registrar, BHU”, payable at Varanasi. (Non-refundable.)

- An Earnest Money Deposit (EMD) for installation of Renovation of 12 Operation Theaters of S.S. Hospital alongwith the offer in form of and account payee Bank Draft for  12,00,000/- in favour of “The Registrar, BHU” payable at Varanasi.

- Registration Certificate of CST / State Govt. Taxes wherever applicable.

- Copy of Income Tax Returns for preceding 3 years.

- Every page of the tender documents and the enclosed copies of the certificates have been signed with seal.

In absence of any of the above documents/ information, the offer may summarily rejected without making any further reference.

Date:							       Signature with Seal

ANNEXURE - 2

BANARAS HINDU UNIVERSITY

(NOTICE INVITING TENDER)

On behalf of the Vice-Chancellor, BHU, sealed item rate tenders from manufactures (or their ‘authorized’ dealers by submitting letters/certificates, in original, from the manufacturers that they have been authorized to quote in response to this NIT) of the following items are invited:

| S.N. | Tender no. | Description of Works | Estimated cost |
| --- | --- | --- | --- |
| 1. | SSH/11-12/F.31 (A/c.)/01 | Providing & Renovation of 12 Operation Theatres in Sir Sunderlal Hospital, Banaras Hindu University, Varanasi. | 2.90 Crore |
| 2. |  | Civil Works for Renovation of Operation Theatre Blocks, SSH, BHU | 2.00 Crore |
| 3. |  | Modification in existing Air Conditioner & Electrical Works for renovation of O.T. | 1.10 Crore |

The Tender Documents for items will be on two-Bid System consisting of Technical Bid and Price Bid. The Tender Documents will be submitted item-wise in two separate sealed covers clearly mentioning on the envelope the details of items for which bid is submitted. The bidder will make a comprehensive Single Bid for all the category of works.

The Tender Document (non-transferable) alongwith detailed specifications, terms and conditions may be purchased by the interested firm on submission of a written application to the undersigned alongwith payment of non-refundable Tender fee as mentioned below. The Tender fee may be paid in the form of Bank Draft in favour of The Registrar, Banaras Hindu University payable at Varanasi. The Tender document can also be downloaded from the University’s website – www.bhu.ac.in.

- Tender Fee	:  2000/- (Two thousand only)  Non-refundable.

- Date of commencement of issue of Tender Document :   20th May, 2011

- Last date and time for receipt of Tender Document	:       15th June 2011  upto 3:00pm.

The tender should be addressed to the undersigned, and should be delivered in person or sent by Registered post so as to reach the University on or before 15th June, 2011 upto 3.00 PM.  No tender will be accepted after the due date and time.

All Tender Documents must be accompanied by Bid Processing Fee and the Bid Security Form/Earnest Money Deposit (Refundable) equivalent to 2% of estimated cost of the job. The Earnest Money Deposit is to be paid in the form of Bank Draft in favour of the Registrar, Banaras Hindu University payable at Varanasi. The Bid Security Form/Earnest Money Deposit Bank Draft must be enclosed with Technical Bid. The details of Bank Draft Number of Earnest Money Deposit must be endorsed on top of envelope containing Technical Bid.

The University shall not be responsible for any delay in receiving Bids / sending of Tender Document by post.

The Competent authority of University reserves the right to accept or reject any bid, without assigning any reason thereof. No correspondence in this regard will be entertained.

Earnest Money shall be forfeited in case it is found at any stage that information/particulars regarding supply of tendered item(s) is false.

(Medical Superintendent)

- Annexure-3

TENDER DOCUMENT FOR installation of

modular operation theatres

in S.S. Hospital, BHU.

| BID REFERENCE | SSH/2011-12/F.31 (A/c.)/01 |
| --- | --- |
| DATE OF COMMENCEMENT OF SALE OF BIDDING DOCUMENT | 20.05.2011 |
| LAST DATE AND TIME FOR RECEIPT OF BIDS | 15.06.2011 3.00 PM |
| ADDRESS FOR COMMUNICATION | The Dy. Registrar & CAO, Sir Sunderlal Hospital Banaras Hindu University Varanasi -221005 U.P. Tele No. 0542-6703586, 2369033 Fax No. 0542-2369115 |

Terms & Conditions

Interested firms are requested to submit their offers in a sealed envelope on terms and conditions given in the prescribed Tender form:-

| Name of the Job | Earnest Money in the form of DD in favour of The Registrar- BHU, payable at Varanasi | Bid Processing Fee in the form of DD in favour of the Registrar-BHU, payable at Varanasi | Tender Fee in the form of DD in favour of The Registrar – BHU, payable at Varanasi |
| --- | --- | --- | --- |
| Renovation of Operation Theater in S.S.Hospital (as per details vide Annexure –(A, B & C) | 12,00,000/- (Twelve lac only) Refundable | - 25,000/- (Twenty five thousand) Non-refundable | 2,000/- (Two thousand only) Non-refundable |

Conditional tenders shall not be considered and shall be rejected.

Note: Tender fee on downloaded form from the website www.bhu.ac.in &  www.imsbhu.nic.in  is also  2000/- (Non-refundable) and will have to be rendered at the time of submission of the Tender.

Time Schedule

| Particulars | Date & Time | Venue |
| --- | --- | --- |
| Last Date of Receiving Sealed Tenders | 15.06.2011 upto 3.00 pm | Office of the Med. Supdt., S.S. Hospital, BHU |
| Opening of Technical Bid | Will be informed | Committee Room of the Administrative Block of S.S. Hospital, BHU, Varanasi -221 005 (U.P.) |

The Details of the Tender will be available on website www.bhu.ac.in &  www.imsbhu.nic.in

Prequalification criteria

1.	The bidder should have adequate experience of renovation / construction of modular operation theatre in Government / Corporate Hospitals of repute.	  A letter of satisfactory work performance (issued by the respective competent authority) should be enclosed with the bid.

2.	The bidder should have completed similar job of not less than 5.0 crores as single job during preceding five years.

3  	General Information for SI

SI shall note the following information:

3.1  	Bid Submission

- SI is advised to study the Bid document carefully. Submission of the Bid shall be deemed to have been done after careful study and examination of the Bid document with full understanding of its implications. Failure to furnish all information required by this Bid document or submission of a Bid not substantially responsive to the Bid document in every respect will be at SI’s risk and may result in the rejection of its Bid.

- The University reserves the right to accept/reject any deviation in the Bid by SI.

- The SI must bear all the costs associated with the preparation and submission of its Bid and the University will in no case be responsible or liable for those costs, regardless of the conduct or the outcome of the Tendering process

- The Bid will not be returned to the SI after the decision is made.

- Submission of Bid in response to this Bid shall not be construed as an obligation on the part of the University to award a purchase order for any products / services or combination of services proposed

- The University reserves the right to reject any particular Bid or all Bids without assigning any reason whatsoever to anyone, and failure of the University to select a SI shall not result in any claim whatsoever against the University

- Blank columns and Overwriting is not permitted in filling up the bids and may entail rejection of the Bid.

- The Bid terms and conditions must be clearly typed or legibly written and have the full name and address of the SI. Each and every page shall have the signature and seal of the authorized representative of SI.

- Income Tax clearance certificate along with an affidavit from the Notary that the firm has never been black-listed must be attached along with the Bid, failing which the Bid shall be rejected.

- Last date and time for Bid submission is 15.06.2011 upto 3.00 PM.

- All responses that are received after the due date / time will be treated as invalid and would not be accepted or opened unless called for.

- Technical Bid (Two copies: One original and one duplicate) and Financial Bid (Two copies: One original and one duplicate) must be submitted in separate sealed envelopes. The envelope cover in each case should be superscribed with “Technical Bid for BHU Bid” and “Financial Bid for BHU Bid” respectively. SI name and address should also be superscribed on each envelope. These two envelopes should be put in another sealed envelope and super scribed with “ Bid for Renovation of O.T. alongwith SI name and address. This sealed envelope should be submitted to ‘The Medical Superintendent, S.S. Hospital Institute of Medical Sciences, Banaras Hindu University, Varanasi” on or before the Bid due date/time. The place of submission shall be ‘The Office of Medical Superintendent, SSH, IMS, BHU, Varanasi’.

- The Technical Bid must contain the technical specification as per Annexure A,B & C. The equipment / instruments must confirm to their relevant IS codes. Each page of the Original Documents must be signed by the authority person of SI with Seal.

- Financial Bid on the letter head of the SI must contain the prices excluding taxes. All taxes and other charges shall be mentioned separately, all rates shall be F.O.R. destination SSH IMS, BHU, Varanasi. Each page must contain seal and signature of SI.

3.2	The University and SI Memorandum of Understanding (MOU)

- By submitting a Bid in response to this Tender, the SI agrees to promptly engage in contract with the University if it is selected for the assignment

- The University will first issue a Letter of Intent (LOI) to the SI. The SI shall submit its acceptance within a week of issue of the LOI.

- From the date of issuance of a Letter of Intent to the selected SI, the SI shall sign an agreement in this Bid document, with the University at the time, place and in the format prescribed by the University,  The MOU agreement shall include all agreed terms, conditions and specifications of this tender document and also the Bill of material and price, as agreed finally after Bid evaluation. The MOU shall be executed in English language in 2 (TWO) original, with both University and the SI receiving the duly signed original. The MOU shall be valid till all contractual obligations are fulfilled

- The effective date of start of the MOU with the selected SI shall be the signing of the MOU by the SI.

- All questions, disputes and differences arising under and out of , or in connection with the MOU shall be referred to the sole arbitration by an arbitrator appointed under the provisions of the Arbitration and Conciliation Act, 1996 by the Vice-Chancellor, B.H.U., Varanasi.

- Any notice by one party to the other pursuant to the MOU shall be sent by telegram/telex/cable/fax/e-mail and confirmed in writing to the address specified for that purpose in the Memorandum of Understanding.

- By entering into a MOU with the University, the SI acknowledges that the SI has the expertise and the competence in executing all phases of work involved in the provisions of this Bid. The SI also acknowledges that University relies on this statement, therefore neither accepting responsibility for, nor relieving the SI of the responsibility for the performance of all provisions and terms and conditions of this Bid.

- All goods or materials shall be supplied by the SI, whose Bid is accepted, strictly in accordance with the specifications, drawings, data sheets, other attachments and conditions stated. Any alterations of these conditions shall not be made without the consent of University in writing which must be obtained before any work against the order is commenced.

- All material furnished by the SI pursuant to the MOU (irrespective of whether engineering, design data or other information has been furnished, reviewed or approved by the University) will be guaranteed to the best quality of their respective kind (unless otherwise specifically authorized in writing by the University) of workmanship and materials, and to be of sufficient size and capacity and of proper materials so as to fulfill in all respects with all operating conditions.

- In the event that the material supplied is defective or do not meet the specifications and are not in accordance with the drawings, data sheets or the terms of the order, SI shall replace the material at no extra cost to the University . Failure on the part of SI may prompt University to immediately replace the material at the cost of SI.

- The entire responsibility of supply, warranty and the MOU execution lies with the SI, on whom the Purchase-cum-Work Order is placed and with whom the MOU is signed.

3.3	Amendment of Bidding Documents:

3.3.1 	At any time prior to the deadline for submission of bids, the University may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, modify the bidding documents by amendment.

3.3.2	All prospective bidders who have received the bidding documents will be notified of the amendment in writing which will be binding on them.

3.3.3	In order to allow prospective bidders reasonable time within which to take the amendment into account in preparing their bids, the University, at its discretion may extend the deadline for the submission of bids.

3.4   	Tender Bid Clarification

- To assist in the examination, evaluation and comparison of Bids, University may, at its discretion, ask the SI for clarification of the same. The request for clarification and the response shall be in writing and no change in the price or substance of the Bid offer shall be sought, offered or permitted.

- A prospective SI requiring any clarification of the Bid Document may notify University in writing or by fax, telex or email at the University mailing address as indicated in the Bid Document. No query from any SI shall be entertained by University if it is received more than 7 (seven) days after the release of this Bid. The University will respond in writing to any request for clarification of the Bidding documents which it receives, not later than 7 (seven) days prior to the deadline for the submission of bids prescribed. Written /email copies of the University response (including an explanation of the query but without identifying the source of the query) will be sent to all prospective SI who have received the Bid.

- The preferred mode of communication shall be email/ fax.

3.5    	Governing Language

- The bids prepared by the SI and all correspondence and documents relating to the bids exchanged between the SI and the University, shall be written in the English language, provided that any printed literature furnished by the SI may be in any another language as long as the same is accompanied by an English translation in which case, for purposes of interpretation of the Bid, the English translation shall govern.

3.6    	Bid Validity

- The Bid will remain valid for 180 days from the date of submission of the Bid

3.7     	Force D’Majeure

The SI shall not be liable for forfeiture of its performance security, liquidated damage or termination for default, if and to the extent that it’s delay in performance or other failure to perform its obligations under the MOU is the result of an event of Force D'Majeure.  For the purpose of this clause "Force D'Majeure" means an event beyond the control of the SI and not involving the SI's fault or negligence and not foreseeable. Such events shall mean and limited to, war or revolution, riot, earthquake, fires, floods, epidemic, quarantine restrictions, freight embargo and terrorist attack, strike or lock-out (only those exceeding 10 continuous days). If a "Force d' Majeure" situation arises, the SI shall promptly notify University in writing of such condition and the clause thereof. SI shall notify University by registered letter duly certified by Local Chamber of Commerce of Statuary Authorities, the beginning and end of the above causes of delay within 7(seven) days for occurrence and cessations of such conditions, in the event of delay lasting over one month, if arising of causes of Force d’ majeure, University reserves the right to cancel the order and the provisions/articles governing termination of order shall apply.  Unless otherwise directed by the University in writing the SI shall continue to perform their obligations under the MOU as far as reasonably practical, and shall adopt all reasonable alternative means for performance not prevented by "Force d' Majeure" clause. For delays arising out of Force d’ majeure, the SI shall not claim extension in completion date for a period exceeding the period of delay attributable to the causes of force d’ majeure and neither University nor the seller shall be liable to pay extra costs provided it is mutually established that Fore d’ majeure conditions did actually exist.

3.8	Late Bids

Any Bid received after the Bid due date and time prescribed in the Bid Document shall be rejected. Telegraphic/fax/E-mail offers whether sent directly or submitted by local agent in India will not be considered and shall be rejected.

3.9	Modification and withdrawal of Bid Document

The SI shall not be allowed to modify or withdraw his Bid after the Bid submission even if the deadline for submission is not reached.

3.10	Canvassing

Any efforts by a SI to influence University on Bid evaluation, Bid comparison or contract award decisions may result in the rejection of its Bid.

3.11	Right to vary quantities at the time of award

University reserves the right at the time of award of Contract to increase or decrease the quantity of Goods specified in the scope (in respect of each item of scope), without any change in unit price or other terms & conditions.  Any variation in quantity will be mutually agreed upon by University and the SI.

3.12   	Bid Processing Fee

The  Bidder  shall  submit  a  separate Bid  Processing  Fee  (non- refundable) of             Rs. 25,000/- (Rupees Twenty Five Thousand Only) along with the Bid, in the form of a Banker‘s Cheque / Demand Draft drawn on any Nationalized Bank, in favor of —“The Registrar, BHU“.

3.13	Earnest Money Deposit

The  Bidder  shall  submit  an  Earnest  Money  Deposit (EMD)  of  Rs. 12,00,000/- (Rupees Twelve Lakhs  Only) along with the Bid,  in  the form of a Banker‘s Cheque / Demand  Draft  drawn  on  any  Nationalized  Bank,  in  favor  of  —“The Registrar, BHU, Varanasi.”

3.14	After successful installation and handing over the party will be responsible for One year maintenance Free of Cost and will be providing warrantee / Guarantee on items as per recommendation of the manufacturer.

4.0	Time Frame of the Work

4.1	The entire work has to be executed within a span of Nine months. An extension for a maximum period of 3 months can be given, only if there are cogent reasons.

4.2	The work has to be carried out in a phased manner (Block wise) as per the directives of the Hospital Administration.

5.0	Mode of Payment :

5.1	50% payment on materials supplied on prorata-basis to the stores in good condition against Bank Guarantee.

5.2	40% during execution of the job in the phased manner.

5.3	10% after satisfactory testing, commissioning and handing over.

5.4	Running payment shall be made for Civil and Electrical works on the basis of joint measurement in the phased manner as per University’s rule.

6.0	Others

6.1	Form 3 D will not be provided by the University.

6.2	Importing of any materials for the aforesaid work shall be the sole responsibility of the Firm.

6.3	Way bill will be provided by the University.

6.4	Warranty of Electrical gadgets / equipments will be effective from the date of  commissioning of the Operation Theatre and not from the date of supply.

6.5	All materials supplied  and used will be as per bid document. Any deviation will not be acceptable.

6.6	The materials removed from the existing setup shall be the property of the Banaras Hindu University and will be handed over to the hospital administration appropriately.

6.7	The firm will be responsible for the periodical disposal of building rubbish, Steel Sections and condemned materials from the SSH & will dump them at the site specified by the University at their own cost.

Tender Form

(Techno commercial unpriced Bid)

For renovation of operation theatres

- Name and full address of Tender ………………………………………..………….…………

…………………………………………………………………………………….………………..

……………………………………………………………………………………….……………..

- Address to : The Medical Superintendent, Sir Sunderlal Hospital, Banaras Hindu University, Varanasi – 221 005

- Reference: Tender Notice No. SSH/F.31(A/c.)/2011-12/01dated………………………………

- Tender fee  2000/- deposited vide demand draft No................................dated.......................

of .....................................................................................(Name and address of Banker)

- We.............................................................................................(Name of Firm) agree to abide by all the terms & conditions as mentioned in (i) : Tender Notice No. SSH/11-12/F.31(A/c.)01 dated……………...

- We have enclosed Bid Processing Fee for    25,000/- (Twenty Five Thousand)  in form of demand draft No…………..dated………………….of ………………………………..(Name of Banker) in favour of The Registrar, BHU, Varanasi.

- We have enclosed Earnest Money  12,00,000/- (Rupee Twelve lac)  in form of demand draft No…………………..dated………………….of……………………………………….………..               (Name of Banker) in favour of The Registrar, BHU, Varanasi.

- All tender documents are complete in all respect and have been duly signed.

Yours faithfully,

(Signature of bidder)

Dated this day of ________

Address:………………………………………….………..……..

……………………………..:……………………..……..…………………………………………………………………………...

Telephone:__________________________________________

FAX_______________________________________________

E-mail______________________________________________

Company seal

Tender Form

(Price Bid)

For renovation of operation theatres

To

The Medical Superintendent

Sir Sunderlal hospital

Banaras Hindu University, Varanasi- 05

Ref: Tender No ……………………………….. Dated---------

Sir,

Having examined the bidding documents and having submitted the techno commercial unpriced bid for the same, we, the undersigned, hereby submit the priced bid for supply of goods and services as per the schedule of requirements and in conformity with the said bidding documents.

We hereby offer to supply the Goods/Services at the prices and rates mentioned in the enclosed schedule of requirement.

We do hereby undertake, that, in the event of acceptance of our bid, the supply of Goods/Services shall be made as stipulated in the schedule of requirement and that we shall perform all the incidental services.

The prices quoted are inclusive of all charges net F.O.R University. We enclose herewith the complete Financial Bid as required by you. This includes:

Price Schedule as per schedule of requirement.

Statement of deviations from financial terms and conditions.

We agree to abide by our offer for a period of 90 days from the date fixed for opening of the bid documents and that we shall remain bound by a communication of acceptance within that time.

We have carefully read and understood the terms and conditions of the bid document and we do hereby undertake to supply as per these terms and conditions. The Financial Deviations are only those mentioned in the statement of deviations from financial terms and conditions.

Certified that the bidder is:

A sole proprietorship firm and the person signing the bid document is the sole proprietor/ constituted attorney of sole proprietor,

Or

A partnership firm, and the person signing the bid document is a partner of the firm and he has authority to refer to arbitration disputes concerning the business of the partnership by virtue of the partnership agreement/by virtue of general power of attorney,

Or

A company and the person signing the bid document is the constituted attorney.

(NOTE: Delete whatever is not applicable. All corrections/deletions should invariably be duly attested by the person authorised to sign the bid document.)

We do hereby undertake, that, until a formal notification of award, this bid, together with your written acceptance thereof, shall constitute a binding contract between us.

Dated this day of_________

Details of enclosures

Yours faithfully,

(Signature of bidder)

Dated this day of ________

Address:………………………………………………..

……………………………..:…………………………..………………………………………………………...

Telephone:____________________________

FAX_________________________________

E-mail________________________________

Company seal

TO BE RETURNED WITH QUOTATION

Dated:……………….

UNDERTAKING

WE HEREBY UNDERTAKE THE FOLLOWING:

- We will not sell the product (s) to other institutions, bodies and also in the market on the rates less

than those quoted by us to the University.

- The goods on which Sales Tax has been charged are not exempted for payment of Sales Tax under C.S.T. Act or U.P.S.T. Act or the rules made there under and the amount mentioned on account of Sales Tax on goods is not more than what is payable under the provisions of the relevant Act or Rules made there under.

- The rate of Excise Duty mentioned in the quotation is in accordance with the provisions of the rules and the same is payable to the Excise Authorities in respect of the stores.

- The goods / Stores / articles offered shall be of the best quality and workmanship and their supply will be strictly in accordance with the technical specifications and particulars as detailed in the quotation.

- The information furnished by us in the quotation is true and correct to the best of our knowledge and belief.

- We have read and understood the rules, regulations, terms and conditions and agree to abide by them.

Authorized Signatory

(Seal)

BANARAS HINDU UNIVERSITY To Be Returned with Quotation

Sir Sunderlal Hospital

VARANASI – 221 005

Following proforma should be filled in and duly signed by the firm and sent alongwith the quotation.  (Please refer to the detailed instructions/notes before filling this proforma).

- Validity of the offer				:  …………………………………….

- Approximate Delivery Period				: ……………………………………..

- (a)  Whether rates have been quoted F.O.R. site and

covers packing forwarding and insurance charges.	:	YES / NO

(b) If not, please mention the same				:  ………………………………..

- (a) Whether the prices are inclusive of Sales Tax and 	:

other taxes.				YES / NO

(b)  If not, kindly specify the amount / rate		:  ……………………………………………………..

- If the Sales Tax is charged extra, declaration for

charging Sales Tax correctly attached.		:		YES / NO

- (a) Whether supply will be made directly or through

any Local /  Regional / Authorized Dealer / Stockist	:	Directly / Stockist / Authorized Dealer

(b) If through a Stockist / Dealer : -

(i) Name and full address of the Party		:  …………………………………………………

…………………………………………………….

(ii) Whether the order to be placed with the		:  	Principal / Stockist / Dealer

(iii) Who will raise the bill		: 	Principal / Stockist / Dealer

(iv) Cheques will be drawn in favour of		:  	Principal / Stockist / Dealer

(v) Whether any Delivery, Packing and Forwarding		YES / NO

Charges will be payable to local Stockist/Dealer	:	(Please specify the amount/percentage etc, if any)

- Our terms of payment (Please indicate your preference by a () mark). Please note that no other payment terms are likely to be accepted.			   .

  - For Local Firms or if the bills are raised by the

Local Dealers.

(i) 100% Payment on bill basis 				:  ……………………………………..

OR

(ii) 100% payment against Proforma Invoice after

receipt of materials in good condition, installation

and satisfactory report.

(Only under exceptional cases)

(b)  If the bills are raised by outstation Firms

(i) 100% Payment on bill basis 				:  ………………………………………

OR

(ii) 100% payment against Proforma Invoice after

receipt of materials in good condition, installation

and satisfactory report				:  ……………………………………..

OR

(iii)D.G.S. & D. Terms of Payment for D.G.S. & D

Rate Contract items				:  …………………………………….

OR

(iv) 75% against Proforma Invoice (at site) or

documents through Bank and 25% after receipt

of materials in good condition, installation and

satisfactory report.				:  ……………………………………..

OR

(v) 90% payment against Proforma Invoice (at site)

or documents through bank and 10% after receipt

of materials in good condition, installation and

satisfactory report (Only under special

Circumstances).				:  …………………………………….

- Whether any Excise Duty is payable on the items.           : 		YES / NO

If yes, indicate the amount / percentage.		           :		……….……………………………..%

- Whether any installation charges are payable extra.	:	YES / NO

If yes, amount to be specified.			:  …………………………………………………

- Whether any discount for educational institution		:

offered on the printed price list of the manufacturer.	:	YES / NO

Please mention the amount / percentage.			:  ……………………………………………….

- Whether the product is on DGS &D/D.I. Rate contract.

If yes,  please enclose a photocopy of the same.		:	YES / NO

- Whether the product bears I.S.I. Mark. 				YES / NO

If yes, please mention the I.S.I. License no.			:  …………………………………………………

- (a) Whether the firm is Sales Tax payer.			:	YES / NO

If  yes, please mention the Sales Tax Numbers.		:  …………………………………………………

(b) Whether the Local Dealer(s) is / are Sales Tax

payer(s)			:	YES / NO

If yes, please mention the Sales Tax numbers of each  	:  ………………………………………………..

- Whether printed / authenticated price list of the Firm’s

Products and Catalogue etc. enclosed.			:	YES / NO

Signature of the Authorised Official with Seal

ANNEXURE-‘A’

Scope of work

Technical Specification of prefabricated Modular O.T.

| S.N. | Description | Qty |
| --- | --- | --- |
| 1. | Hermetically sealed sliding door: Supply & fixing of hermetically sealed door with single leaf to run on aluminum rail track with nylon bearing made out of 48 mm. Polyurethane core faced both sides with 1 mm. hard Plastic lamination on 5 mm / 6 mm hard plastic laminated frame in anodized aluminum profile of approved color with stainless steel frame to suit the wall construction with clear opening 2100 H x 1800 mm W to complete with Lever Handle both side and vision window 300 mm x 300 mm with Double glazed softy glass. Complete sealing with D type rubber “Gasket and stainless steel canopy, to be operated manually or electric automation microprocessor control with safety photo cell inbuilt & safety sensor with two push button. The noise level of movement should be less than 60 Decibel. Complete testing commissioning etc as required. | 12 Nos. |
| 2. | Control Panel with Distribution Board: Supplying and fixing control panel to incorporate, electrically operated equipment, ground & power bar unit with power bar connection and Medical Gases to be recessed with matt aluminum finish. The interior part of the panel can be exceeded two ways (i) The Front part inside the Operation Theatre & rear part should be outside of the Operation Theatre. The approach from inside the room through main door and for the outside panel through dirt corridor. The panel should include the following : - Analog Clock - Electric Alarm Repeater - UPS Charge Status - Operation Theatre Status i.e. Air Pressure, Humidity and Temperature. - General lighting Control 06 switches - Ground connection - 3 Nos. X-Ray Viewer ( 1030 x 430) - Hand Free Telephone (1 No./ Internet Port) - 2 Nos. RJ 45 Sockets - 20 Nos. Electrical Outlet 5 / 16 Amps. - 2 Nos. 20 Amps Outlet - Audio – video Sockets. - 8 Nos. Earthing Outlet - 1 No. Gas Alarm upto (6 gases) - 15 – HMIS port. - The size of panel shall be 1250mm x 1700mm x 200 mm to be arranged on 3 phase 400 volt AC Electrical supply | 12 Nos. |

| 3. | Pressure Relief Dampers: Made of stainless steel grade 304 well balanced blade to work on 1 Pascal over working range 5-35 Pascal. | 12 Nos. |
| --- | --- | --- |
| 4. | Supplying & fixing of OPTIC Mirror flush type double fitting Philips make I.P. 60 | 72 Nos. |
| 5. | Supplying and fixing Foyer lighting in the corridor (with CFL Bulb) Philips make IP 65 | 56 Nos. |
| 6. |  |  |
| (i) | 15mm dia. 0.9mm thickness Copper Pressure Pipe | 670 mtrs |
| (ii) | 20 mm. dia 0.9 mm thick copper pressure pipe | 700 mts. |
| (iii) | Extra for locking system and automation gas manifold for the 2nd floor of O.T. | 1 set |
| (iv) | -do for 3rd Floor | 1 set |
| 7. | Supplying & fixing of Concealed Valve boxes for the Medical Gas Pipe Line System for Oxygen, Nitrous Oxide, MA4 Air, SS7 Air, Vacuum, AGSS all shall backup with copper pipe in accordance with NIST, it should fully comply and meet the standard with STM 0201 and C11 & must be duly CE marked with CE number & specification on it. | 12 Nos. |
| 8. | Homogeneous Low Turbulence Laminar Air Flow: Supplying & fixing ultraclean ventilation system with uni-direction flow and draft free with undisruptive noise level ≤ 45 to 48 db., having minimal pathogen concentration (less than 10 CFU)/ m3 in the sterile field. The Air velocity should be 0.25 m/s. and should have Air – volume 5440 m3 / H with a provision pressure difference measurement. The filter should have low pressure drop for long term usage of the HEPA miniplet H 13 filters having efficiency of 99.95% H 13 filter should approx. 60 pa. at an Air Flow 1000 m3 / H. The Filter should be in accordance with EN ISO 14644 (ULPCAT – TEST with guard to avoid touching filter both side). (A test certificate is mandatory by the manufacturing company) | 12 Nos. |
| 9. | Stainless Steel Scrub Sink: Supplying and fixing pre-fabricated from heavy gauge type 304, stainless steel 1.6 mm thick & seamless welded with satin finish polish, with front access panel complete with water control valve waste connection stopper & strainer. The unit should be hand free operation including providing and fixing inbuilt sensor foot operated. A thermostatic mixing valve is to be provided which should be located behind the access panel to maintain constant water temperature. The timing should be adjusted to meet the individual operation requirement provided with infra-red sensor, Thermostatic control taps with failsafe temperature switch and unit should have reduced anti-splash front having knee & foot operated switch complete etc. as required. | 06 Nos. |
| 10. | PendAnt : Supply of Pendant Indian/ Imported with following configuration: 02 Oxygen, 1 Nitrous Oxide, 1 CO2, 2 Compressed Air & 2 Suction - Gas Outlet 08 Nos. - - Electrical Socket 5/15 Amp. without switches 09 Nos - Multifunctional Rack MFR 01Set - Monitor Tray 02 Nos. - Drawer 01 No. - Heavy Duty Ceiling Fixer 01 Set - Separate safety mechanism (Electrical) required. | 12 Nos. |
| 11. | Double Arm Motorized Pendant Holder with Horizontal movement to accommodate the anesthesia machines / Work Station & monitors of GE/Penlon/Drager/ Stryker/Ohio/Datex Ohmeda: Supplying & installation Double Arm Pendant : - 1 x Articulated Arm 850 x 650 - 1 x Basic Console 600 mm - 1 x Single Shelf 500 mm x 400 mm x 80 mm - 1 x Adjustable Shelf (Hangon/ Unhinge) - 6 x Main socket (5 Amp/15 Amp.) - Multifunction Rack - Monitor Tray - Drawer - Medical Rail – One Set - Telephone Point Made from 6063 naturally anodized, extruded aluminum profiles into which all necessary mechanical components & mains voltage, low voltage & communication cable are routed, each unit is consist of Ceiling Mounted Horizontal Arms & services which contains all the necessary mechanical & electrical supplies individually mounted on fascia plates. The suspension of equipment shall be designed and capable of taking maximum load of 450 Kg. Note: - Cost of Anesthesia Machine & Monitors is not to be included. | 12 Nos. |
| 12. | Heavy Load Pendant Supplying & installation of Dual Arm Pendant Meditrant E 1500 or equivalent : - Pivot range approx. 850/600 mm. - To sustained 150 Kg. load - Upto 5 shelves of which 04 shelves with variable height. - Maximum 12 Medical Gases 1 anesthesia gas extraction, 1 air monitor - Optional high – voltage pod with 6 or max. 24 outlets. - Optional low-voltage pod (General Surgery 02 Nos., Ortho- 1 No., Uro- 1 No., Cardio Thoracic – 1 No., Neuro -1 No, Obstetric & Gynecology -1 No.) | 7 Nos. |

| 13. | Single Arm pendant Supplying & installation of Single Arm Pendant Meditrant E 1000 make or equivalent: (General Surgery 01 No., Urology – 01 No., Plastic Surgery – 01 No. Cardio Thoracic – 01 No., Obstetrics & Gynecology -01 No & Neuro – 1 No.) | 6 Nos. |
| --- | --- | --- |
| 14. | Cabinets for Operation Theatre: - Built in Cabinet System for Major Operation Theatres: Built-in cabinet system integrated in the wall cabinet, Dimensions 1200 x 2100 x 580 mm, made of stainless steel sheet 1.25 mm., powder-coated or ground to grain size 240, corresponding door frames consisting of Tall cabinet with 2 leaf doors each, sealed all round with a rubber seal. The cabinet should have at-least 3 stainless steel shelves; height of each is adjustable, complete set. - Cupboard System for low end Operation Theatres & Recovery Areas: Cupboard system integrated in the wall should be provided in 4 theatres and 3 Recovering Room. Cupboard will have 2 wing glass doors, sealed all round with a rubber seal. Frame should be made of stainless steel sheet 1.25 mm. powder-coated or ground to grain size 240 Shelves with 8 mm ES-1070 mm; depth: 150 mm. it will have space for 4 contacts boxes 220 x 500 mm. | 12 Nos. 12 Nos. |
| 15 | Hatch Box : Supplying & fixing hatch box in each Operation theatre to provide supplies to the functional O.T. without having open to main door of suitable size. | 12 Nos. |
| 16. | Light System : - LED light system : 1.6 LED lux or big dome with variable colour temperature (3500-5000K0 and shadow management. Should have single LED’s with 5 module dome. - 1.4 LED lux for small dome with variable colour temperature(3500-5000K). Should have single LED’s with 3 module dome. - In built camera – 2 Nos. detachable and should be attachable to other lights. - Two dome x 6 - To be compatible with Laminar Air Flow | 12 Nos. |

| 17. | Anesthesia gas scavenging system (AGSS) - Product should meet BS 6834, BS EN 737, HTM 2022, HTM 02 and C11 requirements. - Anti vibration pump mounts must be installed. - Standard controls should include complete operating and indicating system - Vacuum relief valve must be provided. - Provision of condensation traps and flexible links from exhaust - Ability for floor and wall mounting - Must be weather proof - There should be provision of remote operation - Additionally the inlet connection shall incorporate a vacuum switch and relief valve. The control unit must desirably be enclosed in a powder coated steel with indicators for power on and system running, together with indicators for pump failure. Also there should provision of standby pump which gets activate automatically on primary pump malfunction. |
| --- | --- |
|  | Static Stainfree dissipative Flooring (Tile Form) – (cladding type OT) (Imported) The floor finish in the operating room will be 2 mm static dissipative PVC tiles, laid on a semi conductive adhesive base. The floor finish will terminate at the room perimeter passing over a concealed cave former and continuing up the wall for 150 mm. Flooring will fulfill EN 649 of US requirements it will have chemical resistance as per EN 423. It will have electrical resistance conforming to EN 081/EC 61340. All joints will be welded and the plastic wall finish will overlap the floor caving by 25 mm, to provide a continuous sealed surface. Each Electrical Safdty |
|  | A floor screed will be provided, flat to within a tolerance of +/- 3 mm. over any 3 meter area. Onto this sub floor, a self leveling compound will be laid prior to laying of the floor finish. The self leveling compound will be of the type that does not promote bacteriological growth. Copper ground strip (0.05mm thick, 50 mm width) will be laid flat on the floor in the conductive adhesive and connect to copper wire grounding. Electrical Safety System for cladding Type OTs – Imported for Anesthesia Machine and Monitors. |
|  | Electrical Safety system for Cladding Type OTs – Imported for Anesthesia Machine and Monitors Each cladding OT will have the additional electrical safety system as per IEC 60364-7-710 that do not lead to disconnection and that do not cause hazards through high touch voltage in the event of a first fault. For supply to medical equipment applied on patients, the “Ungrounded system with insulation monitoring and indication” will be used. Amongst other things, the following protective goals will be achieved. No disconnection in case of first fault Small touch currents Possibility of sensitive insulation fault detection/ indication High reliability of electrical installation which are kept in good working order. When operating an undergrounded electrical system it has to be taken unto consideration that in the “event of first fault” an initially unearthed system turns into an earthed system (TN or TT system) and that a second fault levels to the tripping of an protective device and hence to disconnection. |

| Annexure – ‘B’ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Civil Works for renovation of Operation Theatre Block, S.S. Hospital, BHU |  |  |  |  |  |
| S.No. | Description of items |  | Qty. |  | Unit |
| 1 | a)Dismantling and removing , existing false ceiling suspended from roof and stacking carefully.. |  | 2486.00 |  | sqm |
| 2 | Removing of old Aluminium partition including doors, windows, ventilators and re-fixing at new places as per direction of Engineer-in-charge/Department. The contractor shall have to arrange, S.S. Screws, PVC gullys, neoprin gasket and other petty items as per site requirements a) only labour rate |  | 90.00 |  | sqm |
| 3 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: |  |  |  |  |
|  | a) Of area 3 sq. metres and below (15.12.1) |  | 240.00 |  | Nos. |
|  | b)Of area beyond 3 sq. metres (15.12.2) |  | 9.00 |  | Nos. |
| 4 | Removing white or colour wash oil bound distempering , plastic emulsion paint by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete (14.43) |  | 700.00 |  | sqm |
| 5 | Providing and fixing 18mm thick gang saw cut mirror polished, machine cut for kitchen platforms, vanity counters facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 coarse sand) with joints treated with white cement ,mixed with matching pigment, epoxy touch ups, including rubbing ,curing etc. complete at all levels.- granite of any colour and shade a)Area of slab over 0.50 sqm upto 7' height (8.2.2.2) |  | 2040.00 |  | sqm |
| 6 | Extra for providing edge moulding to 18mm thick marble stone counters,Vanities etc. over Item No. 5 including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge a) Granite work (8.3.2) |  | 51.00 |  | metre |
| 7 | Mirror polishing on marble work/stone work where ever required to give high gloss finish complete.(8.6) |  | 1409.00 |  | sqm |
| 8 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorptions less than 0.08% and confirming to I:S: 15622 of approved make in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc., complete a) Size of Tile 60x60 cm Make- KAJERIA, ORIENT , SOMANY, NITCO, JOHNSON only (11.41.2) |  | 1138.00 |  | sqm |
| 9 | Providing and laying rectified glazed ceramic floor tiles 300x300 mm or more (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in all colours except White, Ivory, Grey, Fume Red Brown laid on 20mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete. Make- KAJERIA, ORIENT , SOMANY,NITCO,JOHNSON only (11.40) |  | 350.00 |  | sqm |
| 10 | Wall painting & ceiling painting with one pack, fast drying Hygienic, water based polyurethane , Dispersion wall finish with APCOFLOR WPF 200; PC 2498 of ASIAN MAKE, Two or more coats of 75 micron thckness or 4.50 Sq.mtr. /Kg. theoritical consumption. |  | 3700.00 |  | sqm |
| 11 | Supply of Sonex Lay-in Tile Steel False ceiling system ( 600mm.x600mm.) manufactured out of 0.50mm. Thick Regular Modified Polyester Coated Galvanized Steel ( Z-120gms. Zinc coating mass total of both sides, 275 Mpa yield strength) on the exposed side and primer coating on the back, coil coated on both the sides in manufacturer's standard colour shades with square or bevelled edges and flanges, produced on advanced equipment, which includes several leveling stages in the manufacturing process. Exposed side of tile shall have 20 micron coil coated polyester finish for steel and 5 micron back coat of Alkyd primer .All tiles to be installed on a standard 600mm.x600mm. module 24mm. table exposed metal grid and are precision made to within ±0.25mm. Suspension system would be standard 24mm. Table exposed metal grid features main runners and cross tees rolled formed from galvanized steel to BS 2989Z-18 zinc coating , minimum tensile strength 270 Mpa. Grid system to be designed to satisfy ASTM C 635 loading and deflection criteria. The main and cross runners to be provided with bayonet couplings for quick installation. The grid is suspended from the roof with 4mm. dia. G.I. wire rods and quick adjustment suspension hangers at maximum 1200 mm along the main runners. The tiles would be designed for lay-in mounting from below into the standard grid. The main runners shall be fixed at 1200mm. and shall be infield with 1200mm. / 600mm. cross tees. Hangers to be fixed to roof by J- hooks and nylon inserts . Wall angle to be 22x22x0.5mm. thick quill quoted steel matching the colour of tile. BASE Material – Lay in tile type false ceiling is available in steel. |  | 3000.00 |  | Sqm. |
| 12 | Providing and fixing anodized hinged aluminium work for doors, windows, ventilators and partitions with extruded built up, standard tubular and other sections of approved make confirming to IS 733 and IS 1285- anodized transparent or dyed to required shade-according to IS : 1868 ( Minimum anodic coating of grade AC 15 ) , fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene rubber felt etc. Aluminium sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle of 16 gauge , Aluminium snap beading 1.4mm for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the direction of Engineer-in-Charge ( glazing and panelling to be paid for separately). - For fixed portion top and sides section 83x38x3 mm. and bottom 114x44x3mm. |  | 2406.00 |  | Kg |
|  | b) For shutters of doors, side and middle 83x38x3mm. and bottom and top 114x44x3mm.including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of PVC / neoprene gasket ( Fittings Shall be paid separately ) |  | 6534.00 |  | 842 |
| 13 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. ( mentioned else where)complete as per the architectural drawings and the directions of Engineer-in-charge. (Only clear exposed area will be measures) a)With plane floated glass panes of 5.00mm. thickness. ( SAINT, GOBIAN or MODI FLOAT make only) |  | 295.00 |  | Sq.m |
| 14 | P/F infill panels both side decorative laminated particle board Nova Pan-12mm. thick. a) Pre-laminated particle board with decorative lamination on one sides decorative laminated particle board and other side plain matching laminate. |  | 182.00 |  | Sq.m. |
| 15 | P/F mortice lock 4 lever suitable for aluminium profile door of Godrej make size 35mm. |  | 107.00 |  | Nos. |
| 16 | Providing and fixing IS : 3564 marked aluminium extruded section body tubular type universal hydraulic door closer with double speed adjustment with necessary accessories and screws etc. complete.GODREJ MAKE ONLY (9.84) |  | 130.00 |  | Nos. |
| 17 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. a)Twin rubber stopper (9.101.2) |  | 225.00 |  | Nos. |
| 18 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete-125 mm(9.100.1) |  | 450.00 |  | Nos. |
| 19 | Providing and fixing aluminium tower bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete: a)250x10 mm (9.97.2) |  | 225.00 |  | Nos. |
| 20 | Providing and applying polymer based wall putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete ( make- snowcem/Nerolac/ Wall plast/ Birla white ) (13.26) |  | 700.00 |  | sqm |
| 21 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 5mm thick clear float glass both side having 12mm air gap including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings anddirection of Engineer-in-charge complete.( SAINT, GOBIAN or MODI FLOAT make only)(21.10) |  | 190.00 |  | sqm |
| 22 | Filling the gap in between aluminium frame & adjacent RCC/Brick / Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. a)Upto 5mm depth and 5mm width (21.8.1) |  | 1035.00 |  | metre |
| 23 | Providing and fixing 6 mm dia. G.I. level adjusting hangers (upto 1200mm length) fixed to roof slabs by means of ceiling cleats made out of G.I. flat 40x3mm size 60mm long and expansion hold fasteners 12.5 mm dia. 40mm long complete as per direction of Engineer - in -charge. (21.6) |  | 100.00 |  | Nos. |
| 24 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 meters lead as per direction of Engineer-in-charge-In cement mortar (15.7.4) |  | 10.00 |  | cum |
| 25 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 meters lead. (15.56) |  | 835.00 |  | Sq.m |
| 26 | Demolishing cement concrete manually / by mechanical means and disposal of material within 50 meters lead as per direction of Engineer in charge. A)1:3:6 or richer mix (15.2.1) |  | 80.00 |  | cum |
| 27 | Demolishing lime concrete manually / by mechanical means and disposal of material within 50 meters lead as per direction of Engineer in charge. (15.1) |  | 40.00 |  | cum |
| 28 | Applying and fixing two component epoxy resin based primer for floor coating of ASIAN make APCOFLOR FP100/ PC2166, minimum coating 50 micron thick or theoretical consumption 12.00 Sq.m./Kg. ( The job is to be executed as per manufacturer recommendation) |  | 534.00 |  |  |
| 29 | Applying and fixing three component 2mm. Thick (DFT) self leveling epoxy floor coating of ASIAN make APCOFLOR SL2/PC2250 theoretical covering capacity 0.30 Sq.m./Kg.( The job is to be executed as per manufacturer’s recommendation ) |  | 534.00 |  |  |
| 30 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 ( thickness to be specified by the manufacturer) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (11.36) |  | 500.00 |  | sqm |
| 31 | Carriage of Malba /building rubbish/steel section from working O.T. side to Dumping Yard) |  | 100.00 |  | Trip |
| 32 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position : a)Sal wood (9.1.2) |  | 6.00 |  | cum |
| 33 | Providing and fixing ISI marked flush door shutters confirming to IS: 2202 ( Part-I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a)35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. (9.20.1) |  | 150.00 |  | sqm |
| 34 | Providing and fixing aluminium sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete : a) 250x16 mm (9.96.2) |  | 75.00 |  | Nos. |
|  | 300x16 mm (9.96.1) |  | 75.00 |  | Nos. |
| 35 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 10 kg/sqm. (4 mm thick) glass panes including black enameled ISI marked M.S butt hinges with necessary screws. a)Second class teak wood-35mm thick shutters (9.9.1.1) |  | 6.00 |  | sqm |
| 36 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge: a)15 mm to 40 mm nominal bore (15.44.1) |  | 200.00 |  | metre |
| 37 | Dismantling of flushing cistern of any size including stacking of useful materials near the site and disposal of unserviceable materials within 50 meters lead. (15.52) |  | 20.00 |  | Nos. |
| 38 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50ma)All kinds of soil. (2.8.1) |  | 20.00 |  | cum |
| 39 | Supplying and filling in plinth with Jamuna sand under floors including, watering, ramming consolidating and dressing complete. (2.27) |  | 12.00 |  | cum |
| 40 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - 1:4:8 (1 Cement : 4 fine sand : 8 graded stone aggregate 40 mm nominal size) (4.1.9) |  | 36.00 |  | cum |
| 41 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level a)1:5:10 (1 Cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) (4.1.10) |  | 20.00 |  | cum |
| 42 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering -1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) (4.1.4) |  | 8.00 |  | cum |
| 43 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embeddings in cement concrete block 30x10x15cm 1:3:6 mix (1cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size) (9.53) |  | 500.00 |  | Nos. |
| 44 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement including cement slurry, but excluding the cost of nosing of steps etc. complete. a)40mm thick with 20mm nominal size stone aggregate (11.3.1) |  | 400.00 |  | sqm |
| 45 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying a) Armourcrete of M/s The Structural Water Proofing Company Pvt. Ltd. or Tapecrete of M/s CICO Engg. Service consisting of applying : ( a ) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. (22.5) |  | 200.00 |  | sqm |
| 46 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests (17.1.1) |  | 16.00 |  | Nos. |
| 47 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : a)W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) |  | 8.00 |  | each |
| 48 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. all complete. a)Fixed to steel windows by welding (9.48.1) |  | 500.00 |  | kg. |
| 49 | Providing and fixing 100mm sand cast Iron grating for gully trap. (17.29) |  | 50.00 |  | Nos. |
| 50 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & CP flush bend with fittings & C.I. brackets, 40mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete including painting of fittings and brackets, cutting and making good the walls and floors wherever required a)W.C. pan with ISI marked white solid plastic seat and lid . (17.3.1) |  | 4.00 |  | Nos. |
| 51 | Providing and fixing one piece construction white vitreous china squatting plate with an integral longitudinal flushing pipe, white P.V.C. automatic flushing cistern, with fittings, standard size G.I. flush pipe for back and front flush with standard spreader pipes with fittings, G.I clamps and C.P. brass coupling complete including painting of fittings and cutting and making good the walls and floors etc. wherever required. a)Single squatting plate with 5 litre P.V.C. automatic flushing cistern(17.6.1) |  | 12.00 |  | Nos. |
| 52 | Providing and fixing 600x450mm bevelled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. (17.31) |  | 16.00 |  | Nos. |
| 53 | Providing and fixing soil, waste and vent pipes :a)Centrifugally cast (spun) iron socketed pipe as per IS:3989 (17.35.1.2) |  | 650.00 |  | metre |
| 54 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete a)Sand cast iron S&S as per IS:- 3989 (17.38.1.2) |  | 50.00 |  | Nos. |
| 55 | Providing and fixing plain bend of required degree.100 mm a)Sand cast iron S&S as per IS: - 3989 (17.39.1.2) |  | 50.00 |  | Nos. |
| 56 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.- 100x100x100x100mm- Centrifugally cast (spun) iron S&S (17.41.1.2) |  | 20.00 |  | Nos. |
| 57 | Providing and fixing double equal plain junction of required degree-. 100x100x100x100mm-a)Centrifugally cast (spun) iron S&S as per IS: - 3989 (17.42.1.2) |  | 20.00 |  | Nos. |
| 58 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: a)100 mm (17.58.1) |  | 400.00 |  | Nos. |
| 59 | Providing and fixing collar: 100 mm Sand cast iron S&S as per IS: - 3989 (17.57.1.2) |  | 100.00 |  | Nos. |
| 60 | Providing and fixing single equal plain junction of required degree. 100x100x100mm a)Sand cast iron S&S as per IS: - 3989(17.44.1.2) |  | 20.00 |  | Nos. |
| 61 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :a)100 mm inlet and 100 mm outlet -Sand cast iron S&S as per IS: - 3989 (17.60.1.1) |  | 50.00 |  | Nos. |
| 62 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour. a)450mm long towel rail with total length of 495mm, 78mm wide and effective height of 88mm, weighing not less than 170gms. (17.73.1) |  | 20.00 |  | Nos. |
| 63 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - exposed on wall a)15mm dia. nominal bore (18.10.1) |  | 100.00 |  | metre |
|  | b)20mm dia. nominal bore (18.10.2) |  | 70.00 |  | metre |
|  | c)25mm dia. nominal bore (18.10.3) |  | 60.00 |  | metre |
| 64 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (new work)a)15mm nominal bore (18.46.1) |  | 30.00 |  | metre |
|  | 20mm nominal bore (18.46.2) |  | 30.00 |  | metre |
|  | 25mm nominal bore (18.46.3) |  | 30.00 |  | metre |
| 65 | Providing and fixing brass bib cock of approved quality. a)15 mm nominal bore (18.15.1) |  | 50.00 |  | Nos. |
| 66 | Providing and fixing brass stop cock of approved quality a)15 mm nominal bore (18.16.1) |  | 51.00 |  | Nos. |
| 67 | Providing and fixing on wall face unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. a)110 mm diameter (12.41.2) |  | 50.00 |  | metre |
| 68 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. a)Coupler-110 mm bend (12.42.5.2) |  | 60.00 |  | Nos. |
| 69 | Providing and fixing uplasticised PVC connection pipe with brass unions a)30 cm length-15 mm nominal bore (18.21.1.1) |  | 50.00 |  | Nos. |
| 70 | Constructing brick masonry road gully chamber 45x45x77.5 cm with bricks of class designation 75 in cement mortar 1:4 ( 1 cement :4 coarse sand ) with precast R.C.C.vertical grating complete as per standard design: With F.P.S. bricks (19.28.1) |  | 15.00 |  | Nos. |
| 71 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. a)For pipes 100 to 230 mm diameter (19.21.1) |  | 16.00 |  | Nos. |
| 72 | Structural steel work riveted or bolted in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete: (10.2) |  | 200.00 |  | Kg. |
| 73 | Providing and fixing wash basin with C.I./M.S. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : a)White Vitreous China Surgeon type wash basin of size 660x460 mm with single 15 mm C.P. brass pillar taps with elbow operated levers ISI marked (17.7.9) |  | 35.00 |  | Nos. |
| 74 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete-Semi rigid pipe -.32 mm dia (17.28.1.1) |  | 35.00 |  | Nos. |
| 75 | Providing and fixing terminal guard: -100 mm -Sand cast iron S&S as per IS: - 1729(17.56.1.1) |  | 50.00 |  | Nos. |
| Note: |  |  |  |  |  |
| (1) | The cement shall be used PCC IS code: 1489 of A.C.C.,PRISM, JAYPEE, MYCEM,BIRLA CORPORATION, AMBUJA only. The consumption of cement should be as per CPWD specifications or item specifications or manufacturer’s specification. |  |  |  |  |
| (2) | No locally available Ganges sand shall be used. Only Duddhi or Chopan sand shall have to be used. |  |  |  |  |
| (3) | All the tiles shall have to be used 1st Quality KAJARIA,ORIENT, SOMANY, JOHNSON, NITCO make only. |  |  |  |  |
| (4) | All the finishing items should be ASIAN, BERGER, HSALIMAR, NEROLAC. |  |  |  |  |
| (5) | The glass should be float glass of SAINT GOBIAN or MODI make only. |  |  |  |  |
| (6) | During execution any point which has been not describe the final decision of Hospital Administration. |  |  |  |  |
| (7) | All the payment of civil work shall be made on the basis of measurement |  |  |  |  |

Annexure – ‘C’

ELECTRICAL WORK FOR RENOVATION OF 12 NOS. OF OPERATION THEATRE

| S. N. | Description | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Supply, installation, testing and commissioning of Voltas make chilled water double skin, floor mounted 5200 CFM capacity high static AHU complete with coil section having 6 row deep cooling coil, blower section with imported blower with motor, filter section with pre-filters, micro vee fine filters and internal wiring with return air chamber. | Nos | 5 |
| 2 | Supply, installation, testing and commissioning of Voltas make chilled water double skin, floor mounted 3400 CFM capacity high static AHU complete with coil section having 6 row deep cooling coil, blower section with imported blower with motor, filter section with pre-filters, micro vee fine filters and internal wiring with return air chamber. | Nos | 5 |
| 3 | Supply, installation, testing and commissioning of Voltas make chilled water double skin, floor mounted 2400 CFM capacity high static AHU complete with coil section having 6 row deep cooling coil, blower section with imported blower with motor, filter section with pre-filters, micro vee fine filters and internal wiring with return air chamber. | Nos | 2 |
| 4 | Supply and fixing of HEPA Filters (Size : 608 x 608 x 290 MM, Frame: anodized aluminium Cassette Frame , Media:: Micro fibre glass media , Efficiency: 99.97 % at 0.3 microns ( in DOP Test ), Sealing: Epoxy sealed) including necessary support of ducting, special fixing clamps, nut bolts etc. | Nos | 50 |
| 5 | Supply, installation, testing and commissioning of kirloskar make monoblock pump and motor of 144 USGPM and suitable head for chilled water line. (2W+1S). | Nos. | 3 |
| 6 | Supply, Fabrication & installation of Aluminium Duct hang with threaded rod, proper angle support and G.I. Nut bolts etc. |  |  |
|  | 20 G | Sqmt | 75 |
|  | 22 G | Sqmt | 250 |
|  | 24 G | Sqmt | 750 |
| 7 | Supply and fixing of nitrite insulation with aluminium foil in supply/return air duct with suitable adhesive. |  |  |
|  | 25 mm Thickness. | Sqmt | 1000 |
| 8 | Supply and installation of 1200mm x 600mm/ 900mm x600mm or 600mm x 600mm size Laminar flow diffuser for OT. | Sqmt | 22 |
| 9 | Supply and Fixing of Powder coated Aluminium Extruded grill without damper for Return Air. | Sqmt | 25 |
| 10 | Supply and Fixing of G.I. collar & Duct Damper for supply air. | Sqmt | 20 |
| 11 | Supply and installation of fresh air opposed blade volume control damper with bird mesh screen. | Job | 12 |
| 12 | Supply and Fixing of fire retardant Canvass Connection for air-handling units. | Nos | 24 |
| 13 | Supply and installation of fire dampers in supply/return air duct of air-conditioned area. Fire dampers shall be spring actuated on melting of fusible link having melting point of 67+/-3 deg. C and complete as required testing of fire dampers shall be as per UL 555 and certified by CBRI. | Job | 12 |

| 14 | Supply and installation of following sizes MS B class piping including heavy class MS elbow, tee, reducer etc. |  |  |
| --- | --- | --- | --- |
|  | 125 mm dia | Rmt | 100 |
|  | 100 mm dia | Rmt | 36 |
|  | 80 mm dia | Rmt | 60 |
|  | 65 mm dia | Rmt | 24 |
|  | 50 mm dia | Rmt | 60 |
|  | 40 mm dia | Rmt | 60 |
|  | 32 mm dia | Rmt | 30 |
| 15 | supply and fixing of Insulation of chilled water piping with 2" ND thermocol covered, pasted with hot bitumin, covered with chiken wire mesh and sand cement plaster with painting. |  |  |
|  | 125 mm dia | Rmt | 100 |
|  | 100 mm dia | Rmt | 36 |
|  | 80 mm dia | Rmt | 60 |
|  | 65 mm dia | Rmt | 24 |
|  | 50 mm dia | Rmt | 60 |
|  | 40 mm dia | Rmt | 60 |
|  | 32 mm dia | Rmt | 30 |
| 16 | Supply and installation of 50 MM DIA GI B class pipe for AHU drain. | Rmt | 120 |
| 17 | Supply and installation of following sizes Castle/Advance make PN 10 Butterfly valve with flanges, nut, bolts & gasket including insulation. |  |  |
|  | 125 mm dia | Nos | 4 |
|  | 100 mm dia | Nos | 2 |
|  | 80 mm dia | Nos | 6 |
|  | 65 mm dia | Nos | 6 |
|  | 50 mm dia | Nos | 15 |
|  | 40 mm dia | Nos | 15 |
| 18 | Supply and installation of following sizes ball valve with flanges, nut, bolts & gasket including insulation. |  |  |
|  | 32 mm dia | Nos | 6 |
| 19 | Supply and installation of suitable NRV with flanges, fittings, gasket etc for pumps of all condenser and chiller lines. |  |  |
|  | 80 MM dia. | Nos | 3 |
| 20 | Supply and installation of Y-Type strainer with flanges, fittings, gasket etc for pumps of all condenser and chiller lines. |  |  |
|  | 80 MM dia. | Nos | 3 |
| 21 | Supply, installation, testing and commissioning of imported siemens make 3-way modulating valve with actuator for all air handling units (12-28 USGPM) . | Nos | 12 |
| 22 | Supply, installation, testing and commissioning of heating system by using suitable 3 kw strip heaters to control temperature during winters, geyser state, thermostat as per site requirement. |  |  |
|  | 5200 CFM | Job | 5 |
|  | 3400 CFM | Job | 5 |
|  | 2400 CFM | Job | 2 |
| 23 | Supplying and laying of control cable PVC insulated PVC sheathed steel armoured multicore copper conductor control cable of following size inclusive of end connection. |  |  |
|  | 4Core x 1.5 Sqmm | RMT | 50 |
| 24 | Supplying and laying of PVC insulated PVC sheathed steel armoured 1.1 KV Grade LTMV Al. Conductor power cable wide end connection. |  |  |
|  | 4 C x 10 SQMM for AHU | Rmt | 50 |
| 25 | Supplying laying of cable trays made out of Pre-galvanised sheet of following sizes:- |  |  |
|  | 300 mm x 50 mm x 2 mm thick. | Rmt | 20 |
| 26 | Providing and fixing 8 SWG dia G.I. Wire. | RMT | 200 |
| 27 | Supply and installation of H. Guru make Industrial Thermometer. | Nos | 30 |
| 28 | Supply and installation of H. Guru make Dial type pressure gauge. | Nos | 30 |
| 29 | Supply and installation of descaling 12mm GM gate Valves. | Nos | 24 |
| 30 | Supply and fixing of underdeck insulation pasted with hot bitumin and fix it with using 4"x4" G.I. sheet piece and anchor fastner (Thermocole should be of 24 kg/m3 density and TF quality) | Sqmt | 525 |
| 31 | Design, fabrication, supply, erection, testing and commissioning of suitable DOL/star delta starter panel made out of 16 G CRCA sheet for air handling units and new chilled water pump. All switch gears will be L&T and Siemens make. | Nos | 4 |
| 32 | Supply, installation, testing and commissioning of portable type dehumidifier to control RH level in desired operation theatre. | Nos | 12 |