## BoQ1
Tender Inviting Authority: Prof. H.B. Singh, Dept. of Mycology and Plant Pathology, Institute of Agricultural Sciences, B.H.U, Varanasi | [10 empty] | BoQ_Ver2.0 | 3 | Yes
Name of Work: Supply of Equipments | [11 empty] | BoQ_Ver2.0
Contract No. MPP/HBS/RKVY/14 | [11 empty] | Yes
Bidder Name:
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only) The equipments from serial no. 1 to 10 under schedule 'A', F.O.R. for this list is for Bioresource centers at District Headquarters of Jaunpur, Pratapgarh, Mirzapur and Chandauli. The equipments from serial no. 11 to 29 under schedule 'B', F.O.R. for this list is for Department of Mycology & Plant Pathology, Institute of Agricultural Sciences, B.H.U., Varanasi.
Sl. No. | Item Description | Item Code / Make | Qty | Units | Estimated Rate per Unit (in Rs.) | Basic Price per Unit (in. Rs.) | Excise Duty (in Rs.) | VAT (in Rs.) | Freight Charges ( Unloading & Stacking) (in Rs.) | Any Other Taxes/Duties/Levies (in Rs.) | Other Taxes2 (in Rs.) | Total Amount without taxes (In Rs.) | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category (in Rs.) | Total Amount with Taxes (In Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | B.O.D. Incubator | item1 | 4 | Nos | 150000 | [6 empty] | 0 |  |  | 0 | 1.01 | B.O.D. Incubator | item2 | 4 | Nos
2 | Laminar Flow Clean Bench | item2 | 4 | Nos | 100000 | [6 empty] | 0 |  |  | 0 | 2 | Laminar Flow Clean Bench | item2 | 4 | Nos
3 | Fully Automatic Vertical Autoclave/Sterilizer | item3 | 4 | Nos | 400000 | [6 empty] | 0 |  |  | 0 | 3 | Fully Automatic Vertical Autoclave/Sterilizer | item3 | 4 | Nos
4 | Inverter 1500 VA, 24 Volt | item4 | 4 | Nos | 37500 | [6 empty] | 0 |  |  | 0 | 4 | Inverter 1500 VA, 24 Volt | item4 | 4 | Nos
5 | Desktop Computer with printer | item5 | 4 | Nos | 50000 | [6 empty] | 0 |  |  | 0 | 5 | Desktop Computer with printer | item5 | 4 | Nos
6 | Electronic Balance | item6 | 4 | Nos | 50000 | [6 empty] | 0 |  |  | 0 | 6 | Electronic Balance | item6 | 4 | Nos
7 | Illumination Rack/Plant Tissue Culture Rack | item7 | 8 | Nos | 50000 | [6 empty] | 0 |  |  | 0 | 7 | Illumination Rack/Plant Tissue Culture Rack | item7 | 8 | Nos
8 | Refrigerators Double Door, 300 - 350 Ltr. | item8 | 4 | Nos | 25000 | [6 empty] | 0 |  |  | 0 | 8 | Refrigerators Double Door, 300 - 350 Ltr. | item8 | 4 | Nos
9 | Automatic Pulverizer-cum-mixer | item9 | 4 | Nos | 200000 | [6 empty] | 0 |  |  | 0 | 9 | Automatic Pulverizer-cum-mixer | item9 | 4 | Nos
10 | Hot Air Oven | item10 | 4 | Nos | 62500 | [6 empty] | 0 |  |  | 0 | 10 | Hot Air Oven | item10 | 4 | Nos
11 | B.O.D. Incubator | item11 | 2 | Nos | 150000 | [6 empty] | 0 |  |  | 0 | 11 | B.O.D. Incubator | item11 | 2 | Nos
12 | Plant Growth Chamber | item12 | 2 | Nos | 1000000 | [6 empty] | 0 |  |  | 0 | 12 | Plant Growth Chamber | item12 | 2 | Nos
13 | Laminar Air Flow Double Bench | item13 | 1 | Nos | 150000 | [6 empty] | 0 |  |  | 0 | 13 | Laminar Air Flow Double Bench | item13 | 1 | Nos
14 | Fully Automatic Horizontal Class B Sterilization | item14 | 2 | Nos | 750000 | [6 empty] | 0 |  |  | 0 | 14 | Fully Automatic Horizontal Class B Sterilization | item14 | 2 | Nos
15 | Up Right Deep Freezer | item15 | 1 | Nos | 600000 | [6 empty] | 0 |  |  | 0 | 15 | Up Right Deep Freezer | item15 | 1 | Nos
16 | Desktop Computer with Printer | item16 | 4 | Nos | 75000 | [6 empty] | 0 |  |  | 0 | 16 | Desktop Computer with Printer | item16 | 4 | Nos
17 | Generator 30 KVA | item17 | 1 | Nos | 500000 | [6 empty] | 0 |  |  | 0 | 17 | Generator 30 KVA | item17 | 1 | Nos
18 | Electronic Balance with battery back-up | item18 | 1 | Nos | 150000 | [6 empty] | 0 |  |  | 0 | 18 | Electronic Balance with battery back-up | item18 | 1 | Nos
19 | Analytical Balance | item19 | 1 | Nos | 150000 | [6 empty] | 0 |  |  | 0 | 19 | Analytical Balance | item19 | 1 | Nos
20 | Light Microscope | item20 | 2 | Nos | 50000 | [6 empty] | 0 |  |  | 0 | 20 | Light Microscope | item20 | 2 | Nos
21 | Illumination Rack/Plant Tissue Culture Rack | item21 | 8 | Nos | 31250 | [6 empty] | 0 |  |  | 0 | 21 | Illumination Rack/Plant Tissue Culture Rack | item21 | 8 | Nos
22 | Refrigerators Double Door, 300 - 350 Ltr. | item22 | 2 | Nos | 50000 | [6 empty] | 0 |  |  | 0 | 22 | Refrigerators Double Door, 300 - 350 Ltr. | item22 | 2 | Nos
23 | Spore harvester | item23 | 3 | Nos | 166666 | [6 empty] | 0 |  |  | 0 | 23 | Spore harvester | item23 | 3 | Nos
24 | Mill grinder (cooled Jacket) | item24 | 1 | Nos | 500000 | [6 empty] | 0 |  |  | 0 | 24 | Mill grinder (cooled Jacket) | item24 | 1 | Nos
25 | Fermentor | item25 | 1 | Nos | 1200000 | [6 empty] | 0 |  |  | 0 | 25 | Fermentor | item25 | 1 | Nos
26 | UV-VIS Spectrophotometer (Double beam) | item26 | 1 | Nos | 600000 | [6 empty] | 0 |  |  | 0 | 26 | UV-VIS Spectrophotometer (Double beam) | item26 | 1 | Nos
27 | Grinder-cum-pulverizer | item27 | 1 | Nos | 1000000 | [6 empty] | 0 |  |  | 0 | 27 | Grinder-cum-pulverizer | item27 | 1 | Nos
28 | Air Conditioner 1.5 Ton, Window | item28 | 4 | Nos | 37500 | [6 empty] | 0 |  |  | 0 | 28 | Air Conditioner 1.5 Ton, Window | item28 | 4 | Nos
29 | UPS 20 KVA | item29 | 2 | Nos | 500000 | [6 empty] | 0 |  |  | 0 | 29 | UPS 20 KVA | item29 | 2 | Nos
***Total in Figures | [11 empty] | 0 |  |  | 0
***Total in Words |  | #VALUE!