Kindly provide lowest quotation for a complete laparoscopy set for Oncology operations. We request the following strict specifications as any change may not be accepted. Kindly send your quotation by Registered/Speed Post only to the undersigned by 31st March, 2013 5.00pm.

Specifications – High Definition Endovision System

Required state-of-the-art High Definition Endovision System including the following components:

- High Definition Camera System

- Pure 1090p system  - 1920 x 1080 pixels native resolution (lower resolution will not be acceptable).

- Three Chip Camera Head with Progressive Scanning.

- High Definition Monitor

- Medical Grade Flat Screen LED Monitor for use with HD System.

- Minimum 26 inches (lower size will not be acceptable).

- Video and Image Recording System

- For recording of High Definition images and videos (lower quality will not be acceptable).

- 300W Xenon Light Source with Light Cable

- 300 Watts Xenon Light Source.

- Thick light cable for use with laparoscopes.

- High Capacity Endoflator

- At Least 30-40Litres Capacity (lower capacity will not be acceptable).

- Must have digital display for all preset and real time values.

- Must have automatic alarm and pressure control system in case of over pressure.

- Telescope

- 10mm, 30 Degrees

- High quality – for use with HD system

Note :

- All the items (including Light Source and Light Cable) must be from a single manufacturer of international repute. No local accessories would be acceptable. No “Economy Class”, “E-Class” or “E-Line” model shall be accepted.

- A list of at least five government medical colleges (with details of department and user) of very high repute should be included. Only the biggest institutes of national repute such as All India Institute of Medical Sciences, Sanjay Gandhi Post Graduate Institute, King George Medical College, PGI Chandigarh, CMC Vellore etc. shall be considered as references.

Thanking you,

Sincerely,

Mallika Tewari

Assistant Professor

Dr. Mallika Tewari

M.B.B.S., M.S. (Hons, Goldmedallist),  MCh (Surgical Oncology), MRCS.Ed., USMLE

Assistant Professor

Department of Surgical Oncology

Institute of Medical Sciences

Banaras Hindu University

Varanasi-221005 (Uttar Pradesh)

Phone: (O): 0542- 230 9511

Email: drmtewari@gmail.com