## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Suprintending Engineer, EWSS,BHU
Name of Work: Pipeline connectivity for fire hydrant to fill the Fire Tender Vehicle near BHU main gate, Air strip, swantrata bhawan and dumping yard near BHU press.
Tender Ref. No: EWSS/2020-21/WS/ Pipeline connectivity for fire hydrant/BHU /03 dtd. 16.12.2020
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total Estimated Cost (in Rs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Price inclucive of GST (in Rs) | Excise Duty | GST on Basic price per unit (in Rs.) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST (in Rs) | TOTAL AMOUNT With GST (in Rs) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply and laying of100 mm dia centrifugally cast(spun) ductile iron pipe class K-7 etc. as detailed in scope of work & specification of NIT (Sr. No. 1.0 of page No. 13). | BI01010001010000000000000515BI0100001113 | 800 | Mtrs. | 1800000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Providing and fixing 80 mm dia Heavy(C-Class) M.S. pipes Make-Tata. QST, Jindal as per IS: 1239 (part -I) /1990 etc. as detailed in scope of work & specification of NIT (Sr. No. 2.0 of page No. 13). | BI01010001010000000000000515BI0100001114 | 200 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.1 | Supply and installation of C.I. sluice valve with non rising stainless spindle double flanged as per I.S. -1538 P.N. 1.6 rating make –Venus with nut bolt and packing etc.100 mm dia. | BI01010001010000000000000515BI0100001115 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.2 | …….Do…….80 mm dia. | BI01010001010000000000000515BI0100001116 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.1 | Supply and installation of D.I. all flanged Tee as per I.S. 9523 Make – Keseriwal/Jiffy etc. as detailed in scope of work & specification of NIT (Sr. No. 4.1 of page No. 13). | BI01010001010000000000000515BI0100001117 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.2 | …...Do……...100x100x100/80mm | BI01010001010000000000000515BI0100001118 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.1 | Supply and installation of D.I. flanged socket/ flanged spigot etc. as detailed in scope of work & specification of NIT (Sr. No. 5.1 of page No. 13). | BI01010001010000000000000515BI0100001119 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | …….Do…….100 mm dia | BI01010001010000000000000515BI0100001120 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.1 | Supply and installation of Mechanical coupling make – Keseriwal/ Jiffy suitable for existing CI/DI pipe (as per site requirement) with stud, nut and rubber ring. 150 mm dia | BI01010001010000000000000515BI0100001121 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.2 | ……..Do…….100 mm dia | BI01010001010000000000000515BI0100001122 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply and installation of standard ISI mark single way stainless steel fire hydrant landing valve with accessories. | BI01010001010000000000000515BI0100001123 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Construction of masonary chamber 120x120x100 cm etc. as detailed in scope of work & specification of NIT (Sr. No. 8.0 of page No. 13). | BI01010001010000000000000515BI0100001124 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information