## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Suprintending Engineer, EWSS,BHU
Name of Work: Wiring work for providing power supply to the core switch room, distribution switch rooms & access switches at various locations under the Wi-Fi project for BHU campus, Varanasi
Contract No: EWSS/2017-18/EL/Wi-Fi/01 dtd. 21.12.2017
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total EstimatedCost (inRs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC Price per Unit(in Rs) | Excise Duty | GST on Basic Price Per Unit (in Rs) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST(in Rs) | TOTAL AMOUNT With GST(in Rs) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Surface type point wiring in PVC conduit on surface with 1.1KV grade single core PVC insulated stranded cu conductor wire of the following size as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001112 |  |  | 3740000 | [49 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PVC conduit surface type point wiring of average length 2/4 Meters with 1.5 Sq.mm wire. | BI01010001010000000000000515BI0100001113 | 36 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Surface type submain wiring in PVC conduit on surface with 1.1KV grade single core PVC insulated stranded cu conductor wire of the following sizes as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001114 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | PVC conduit surface type submain wiring with 2.5 Sq.mm wire. | BI01010001010000000000000515BI0100001115 | 4000 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | -do- 4.0 Sq.mm wire. | BI01010001010000000000000515BI0100001116 | 3500 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.03 | -do- 6.0 Sq.mm wire. | BI01010001010000000000000515BI0100001117 | 900 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.04 | -do- 10.0 Sq.mm wire. | BI01010001010000000000000515BI0100001118 | 1500 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Providing & fixing of following design items along with metal/PVC wall box of suitable size to be Surface mounted on wall as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001119 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 6A flush type 1 way switch (modular designed) | BI01010001010000000000000515BI0100001120 | 65 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | 6A SPN 2/3 pin socket (modular designed) | BI01010001010000000000000515BI0100001121 | 35 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | 16A flush type 1 way switch (modular designed) | BI01010001010000000000000515BI0100001122 | 680 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.04 | 16A flush type socket (modular designed) | BI01010001010000000000000515BI0100001123 | 680 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply & installation/fitting of the following items complete with erection accessories & consumables required for the work | BI01010001010000000000000515BI0100001124 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 20A 230V 2 Pin & earth metal clad plug & socket outlet with 32A 230V single pole MCB mounted on common sheet steel enclosure. The unit shall be of Legrand/ L&T make & shall be embedded/ concealed in the wall | BI01010001010000000000000515BI0100001125 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | MCB TPN DB 12way Cat. 607718 of Legrand make | BI01010001010000000000000515BI0100001126 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.03 | MCB TPN DB 16way Cat. 607719 of Legrand make | BI01010001010000000000000515BI0100001127 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | MCB SPN DB 8way Cat. 607711 of Legrand make | BI01010001010000000000000515BI0100001128 | 300 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.05 | MCB DP 32A Cat. 408636 of Legrand make | BI01010001010000000000000515BI0100001129 | 300 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.06 | MCB FP 63A Cat. 408702 of Legrand make | BI01010001010000000000000515BI0100001130 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.07 | MCB SP 10A Cat. 408590 of Legrand make | BI01010001010000000000000515BI0100001131 | 1000 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.08 | MCB SP 32A Cat. 408595 of Legrand make | BI01010001010000000000000515BI0100001132 | 45 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.09 | Metal One way FP Enclosure Cat No. 607884 of Legrand make | BI01010001010000000000000515BI0100001133 | 22 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information