## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Suprintending Engineer, EWSS,BHU
Name of Work: Electrical, cabling & Earthing work for providing power supply to the core switch room, distribution switch rooms & access switches at various locations under the Wi-Fi project for BHU campus, Varanasi
Contract No: EWSS/2017-18/EL/Wi-Fi/02 dtd. 21.12.2017
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total EstimatedCost (inRs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC Price per Unit(in Rs) | Excise Duty | GST on Basic Price Per Unit (in Rs) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST(in Rs) | TOTAL AMOUNT With GST(in Rs) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply, installation, testing /commissioning of the following equipments | BI01010001010000000000000515BI0100001112 |  |  | 1632000 | [49 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 440V AC LT Feeder Pillar for computer center as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001113 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.02 | 440V AC Power Distribution Board for computer center as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001114 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.03 | 440V AC Power Distribution Board for UPS as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001115 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Providing & fixing of Philips make industrial Batten luminaries (Fluorescent Tube fittings) Type TMS 122 M 2 x TL5 28 W EBT complete with lamps 2 x TL5 28 W | BI01010001010000000000000515BI0100001116 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supply & Installation including laying & dressing of the following LT power cables as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001117 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 1.1KV grade 3 ½ core × 95 sqmm, AYFY cable, | BI01010001010000000000000515BI0100001118 | 80 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Excavation of earth cable trench minimum 900mm deep and 450mm wide and providing & underground laying/dressing of the following LT power cables as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001119 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 1.1 KY grade 3 ½ core x 185sqmm, AYFY cable, | BI01010001010000000000000515BI0100001120 | 600 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | 1.1 KY grade 3 ½ core x 95sqmm, AYFY cable, | BI01010001010000000000000515BI0100001121 | 125 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supply, fabrication & erection of equipment foundation/ mounting frames, cable brackets/supports etc. complete with supply of standard steel section consumables, welding rods etc. Fabricated/erected steel structures shall be painted with one coat of primer followed by two cotes of synthetic enamel paints of approved make including supply of paint & primer. | BI01010001010000000000000515BI0100001122 | 100 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supply & installation of cu strips of the following size as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001123 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | 25mm x 3mm Cu. Strips | BI01010001010000000000000515BI0100001124 | 200 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Construction of the following earth stations with GI earth electrodes of min. 10 feet length B class medium guage as per IS : 3043 as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001125 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | Earth stations with 40mm dia single electrode in normal soil. | BI01010001010000000000000515BI0100001126 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supply & installation of GI earth Flats of the following size as detailed in scope of work & specification of NIT (page no. 40). | BI01010001010000000000000515BI0100001127 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | 25mm x 5mm GI Flat in normal soil. | BI01010001010000000000000515BI0100001128 | 200 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | End termination of 1.1 KV grade SWA PVC conductor cable of the following sizes including supply of compression type cable glands & crimping type cu/Al. sockets/lugs & all other consumables & accessories required for the termination. | BI01010001010000000000000515BI0100001129 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | 3 ½ c x 185/150Sqmm. AYFY | BI01010001010000000000000515BI0100001130 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.02 | 3 ½ c x 120/95 Sqmm. AYFY | BI01010001010000000000000515BI0100001131 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Supply & installation of CI cable markers for HT/LT cables including masonary work, providing concrete materials etc. | BI01010001010000000000000515BI0100001132 | 70 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Straight through joints of the following LT cables including supply of straight through jointing kit heat shrinkable of Rachem/Birla3M make, other consumables & accessories required for the work. | BI01010001010000000000000515BI0100001133 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | Straight through joint of 1.1 KV grade 3 ½ c 185Sqmm. PVC Al. armoured cable. | BI01010001010000000000000515BI0100001134 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.02 | Straight through joint of 1.1 KV grade 3 ½ C x 95Sqmm. PVC Al. armoured cable. | BI01010001010000000000000515BI0100001135 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information