## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Suprintending Engineer, EWSS,BHU
Name of Work: Pipeline connectivity and submersible pump along with associated column pipes, electrics etc. for new Tubewell at SSH BHU Varanasi
Contract No: EWSS/2018-19/WS/SSH /03
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total EstimatedCost (in Rs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC Price per Unit(in Rs) | Excise Duty | GST on Basic Price Per Unit (in Rs | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST (in Rs) | TOTAL AMOUNT With GST (in Rs) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply & installation of 6” Column Pipe with welded flange – ‘C’ class pipe of 150mm NB, TATA make only for submersible pump. Wall thickness of pipe -5.4mm. Length -3.0 Mtrs. Flange O.D., P.C.D., Hole dia etc. as per I.S. standard Flange thickness -16mm. as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001113 | 12 | Nos. | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply & installation of KSB pump set 41HP model BPHA 384 + HBC pump type –BPHA 4 Motor type HBC 413 suitable for Star-Delta operation. (1 running + 1 standby) | BI01010001010000000000000515BI0100001114 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supply & installation of 40HP/50HP Star Delta Starter Panel (1 running + 1 standby) as per Technical Specifications in Annexure-I of scope of work & specification of NIT (page No. 41-43) | BI01010001010000000000000515BI0100001115 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply & installation of 16.00Sqmm. product code: 19803091 Finolex three core flat cable with bare bunched copper conductor insulated with PVC for submersible pump motor with voltage grade up to 1100 Volt generally conforming to IS 694:1990. | BI01010001010000000000000515BI0100001116 | 200 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.01 | Supply and laying of150 mm dia centrifugally cast(spun) ductile iron pipe class K-7 inside cement mortar lining and outside zinc coating with finishing layer of bitumen paint confirming to IS : 8329:2000 as detailed in scope of work & specification of NIT (page No. 41). | BI01010001010000000000000515BI0100001117 | 290 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | ----Do---100 mm dia | BI01010001010000000000000515BI0100001118 | 90 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Construction of masonry chamber 120x120x100 cm inside, in class designation 75 brick work in cement mortar 1:4 with 100mm thick RCC split top cover finished with a floating coat of neat cement complete as per instruction of engineer in charge. These chambers shall be used for 150 mm sluice valves which are not in the scope. | BI01010001010000000000000515BI0100001119 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information