## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Professor In-charge ,Trauma Centre, IMS,BHU, Varanasi
Name of Work: Operation & Maintenance (including special repair and refilling of fire extinguishers) of Wet Riser, Sprinkler System and Automatic Fire Alarm System in Trauma Centre, IMS,
Contract No: TC/FFS/01/2020-21
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Operation & Maintenance (including special repair and refilling of fire extinguishers) of Wet Riser, Sprinkler System and Automatic Fire Alarm System in Trauma Centre, IMS, Banaras Hindu University | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Providing Operation & Maintenance of the Fire Fighting System, installed at Trauma centre, IMS, BHU, Varanasi (U.P.) i/c provision of daily consumable items such as battery water, washer for coupling, landing valve, branch pipe, extinguishers etc., gaskets, nut-bolts, packing, glands, thimbles, ICs, fuses as required, and deployment of manpower i.e. 03 Nos. (One in Each Shift) | BI01010001010000000000000515BI0100001113 | 12 | Months |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Providing Operation & Maintenance of the Fire Alarm System installed at Trauma centre IMS BHU, Varanasi (U.P.) i/c provision of daily consumable items such as battery water, IC wire tape etc. as required and deployment of the following manpower i.e. 03 Nos. (One in Each Shift) | BI01010001010000000000000515BI0100001114 | 12 | Months |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Refilling of following capacity Fire Extinguisher including (replacement locking pin pressure gauge, valve, discharge tube, information label, painting, hydrostatic testing if required at no extra cost) removing cylinders from different location at Trauma Centre and after refilling installed the same at respective location etc as required | BI01010001010000000000000515BI0100001115 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Refilling of Water CO2 Type Extinguisher | BI01010001010000000000000515BI0100001116 | 29 | Nos | 2481809 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | Refilling of 6 KG ABC Extinguisher | BI01010001010000000000000515BI0100001117 | 107 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.03 | Refilling of 9 KG ABC Extinguisher | BI01010001010000000000000515BI0100001118 | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Refilling of 4.5 KG CO2 Extinguisher | BI01010001010000000000000515BI0100001119 | 30 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supply Installation Testing & commissioning of following:- | BI01010001010000000000000515BI0100001120 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Providing and Fixing of RRL Hose Pipe Type-A, ISI Marked, 63mm dia. 15 meter length with male female instantaneous SS Coupling (Make : Newage/Flame Guard / Lifeguard / Safeguard / Safe Pro ) | BI01010001010000000000000515BI0100001121 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | Providing and Fixing of Standard short size, SS branch pipe, ISI marked with instaneous type 63 mm dia. Male coupling complete (Make : Newage / Flame Guard /Lifeguard / Safeguard / Safe Pro | BI01010001010000000000000515BI0100001122 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.03 | Fault rectification, addressing of the devices,Programming and all commissioning charges for existing alarm panels with all connected devices complete including Engineer visiting and stay charges | BI01010001010000000000000515BI0100001123 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | Providing and Fixing Addressible Smoke Detector, including addressing and integration to existing Fire Alarm Panel as per site requirement (Make :- Morley) | BI01010001010000000000000515BI0100001124 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | Providing and Fixing of Morley Loop DS105E card, including addressing and integration to existing Fire Alarm Panel as per site requirement (Make :- Morley) | BI01010001010000000000000515BI0100001125 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information