## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Suprintending Engineer, EWSS,BHU
Name of Work: Rewiring, cabling, earthing and other Electrical work in Nagarjun Hostel, BHU campus, Varanasi
Contract No: EWSS/2018-19/ EL/ Nagarjun Hostel/ BHU/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total EstimatedCost (in Rs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC Price per Unit(in Rs) | Excise Duty | GST on Basic Price Per Unit (in Rs | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST (in Rs) | TOTAL AMOUNT With GST (in Rs) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Surface type point wiring in PVC conduit on surface with 1.1KV grade single core PVC insulated stranded cu conductor wire in the following manner & sizes as detailed in scope of work & specification of NIT (page Nos. 40-42). | BI01010001010000000000000515BI0100001112 |  |  | 1900000 | [49 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PVC conduit surface type point wiring of average length 5/7 Meters with 1.5 Sq.mm wire. | BI01010001010000000000000515BI0100001113 | 400 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | PVC conduit surface type point wiring of average length 8/10 Meters with 1.5 Sq.mm wire. | BI01010001010000000000000515BI0100001114 | 270 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Surface type submain wiring in PVC conduit on surface with 1.1KV grade single core PVC insulated stranded cu conductor wire in the following manner & sizes as detailed in scope of work & specification of NIT(page Nos. 40-42). | BI01010001010000000000000515BI0100001115 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | PVC conduit surface type submain wiring with 1.5 Sq.mm wire | BI01010001010000000000000515BI0100001116 | 400 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | PVC conduit surface type submain wiring with 2.5 Sq.mm wire | BI01010001010000000000000515BI0100001117 | 1600 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | PVC conduit surface type submain wiring with 4 Sq.mm wire | BI01010001010000000000000515BI0100001118 | 250 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | PVC conduit surface type submain wiring with 6 Sq.mm wire | BI01010001010000000000000515BI0100001119 | 300 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | PVC conduit surface type submain wiring with 10 Sq.mm wire | BI01010001010000000000000515BI0100001120 | 450 | Mtr. Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supply & installation/Fixing of the following Items of Hager make including supply of installation accessories, consumables etc. required for the work | BI01010001010000000000000515BI0100001121 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | TPN DB 16way 8+48 modules Cat. No. VYT16DH | BI01010001010000000000000515BI0100001122 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | 10A SP MCB 1 module Cat. No. NCN110N | BI01010001010000000000000515BI0100001123 | 150 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | 16A SP MCB 1 module Cat. No. NCN116N | BI01010001010000000000000515BI0100001124 | 70 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | 32A SP MCB 1 module Cat. No. NCN132N | BI01010001010000000000000515BI0100001125 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | 40A DP MCB 2 module Cat. No. NCN240N | BI01010001010000000000000515BI0100001126 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | 63A FP MCB 4 module Cat. No. NCN463N | BI01010001010000000000000515BI0100001127 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply & installation/fixing of the following items including supply of installation accessories, consumables etc requirement for the work. | BI01010001010000000000000515BI0100001128 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | LED Tube light fittings 20W. Make: Wipro CatNo-D532065-1 | BI01010001010000000000000515BI0100001129 | 90 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | 110W LED Street light fittings make –Wipro Cat No LR02-122-XXX-57-XX | BI01010001010000000000000515BI0100001130 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.03 | 70W LED Street light fittings make –Wipro Cat No LR02-781-XXX-57-XX | BI01010001010000000000000515BI0100001131 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | 16A, 5 pin 230V AC combined plug & socket outlet with 16A switch & bakelite kit-kat fuses as detailed in scope of work & specification of NIT (page Nos. 40-42). | BI01010001010000000000000515BI0100001132 | 100 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.05 | Batten holder/ Angle holder of Anchor/Cona make. | BI01010001010000000000000515BI0100001133 | 250 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.06 | 240V AC Fan Regulator, Electronic type, Anchor make | BI01010001010000000000000515BI0100001134 | 130 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.07 | 240V AC 18” impeller dia 950 rpm. 6 pole Heavy duty industrial exhaust fan complete with bracket louvers & shutter of Crompton/Usha make | BI01010001010000000000000515BI0100001135 | 14 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supply & installation/ Fixing of the 440V AC, 3 phase & neutral Bus-bar chamber as detailed in scope of work & specification of NIT (page Nos. 40-42). | BI01010001010000000000000515BI0100001136 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | Bus-Bar chamber with 100A Copper Bus-bar Size of Bus-Bar Chamber: - 550(L) ×410 (H) × 130(D) mm Size of Cu Bas-Bar: - 450(L) ×25(W) ×6(T) mm/phase & neutral | BI01010001010000000000000515BI0100001137 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | Bus-Bar Chamber with 200A Copper Bus-bar Size of Bus-Bar Chamber: - 640(L) ×550(H) ×150(D) mm Size of Cu Bas-Bar: - 2×540(L)×25(W)×6(T) mm/phase& neutral | BI01010001010000000000000515BI0100001138 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supply & installation/Fixing of the following TPN sheet steel enclosed switch Disconnector Fuse units as detailed in scope of work & specification of NIT(page Nos. 40-42). | BI01010001010000000000000515BI0100001139 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | 100A TPN switch Disconnector fuse unit type FN100TPN Cat. No. SK90485 | BI01010001010000000000000515BI0100001140 | 8 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.02 | 250A TPN switch Disconnector fuse unit type FN250TPN Cat. No. SK90489 | BI01010001010000000000000515BI0100001141 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply & installation/fixing of following PVC Insulated Single Core Unsheathed with Multistrand Bright Annealed bare Copper Conductor, flexible cable , Voltage Grade 1.1KV (1100V) as detailed in scope of work & specification of NIT (page Nos. 40-42). | BI01010001010000000000000515BI0100001142 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | 25 sq.mm. Make: National/ L&T/ Finolex. | BI01010001010000000000000515BI0100001143 | 75 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply & Installation including laying & dressing of the following LT power cables as detailed in scope of work & specification of NIT(page Nos. 40-42). | BI01010001010000000000000515BI0100001144 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | 1.1KV grade 3 ½ core × 120 sqmm, AYFY cable | BI01010001010000000000000515BI0100001145 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.02 | 1.1KV grade 3 ½ core × 50 sqmm, AYFY cable | BI01010001010000000000000515BI0100001146 | 150 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Construction of the following earth stations with GI earth electrodes of min. 10 feet length B class medium guage as per IS : 3043. as detailed in scope of work & specification of NIT (page Nos. 40-42). | BI01010001010000000000000515BI0100001147 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | Earth station with 50mm dia single electrode in normal soil | BI01010001010000000000000515BI0100001148 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supply & installation of GI earth strips in the following manner & sizes as detailed in scope of work & specification of NIT (page Nos. 40-42). | BI01010001010000000000000515BI0100001149 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | 25mm x 3mm GI Flats | BI01010001010000000000000515BI0100001150 | 60 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.02 | 8/10 SWG G.I Wire | BI01010001010000000000000515BI0100001151 | 15 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Supply, fabrication & erection of MS section viz. Angle. channel etc. | BI01010001010000000000000515BI0100001152 | 70 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Dismantling/disconnection/removal from the present location of the point wiringas detailed in scope of work & specification of NIT(page Nos. 40-42). | BI01010001010000000000000515BI0100001153 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.01 | Surface type casing caping/PVC conduit Wiring. | BI01010001010000000000000515BI0100001154 | 450 | Points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information