## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Suprintending Engineer, EWSS,BHU
Name of Work: Rewiring, Cabling, Earthing & other Electrical work in Center of Experimental Medicine & Surgery IMS, BHU, Varanasi
Contract No: EWSS/2019-20/ EL/CEMS/IMS/BHU /01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total EstimatedCost (in Rs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC Price per Unit(in Rs) | Excise Duty | GST on Basic Price Per Unit (in Rs | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST (in Rs) | TOTAL AMOUNT With GST (in Rs) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply, installation & testing/commissioning of FollowingPower Distribution Board | BI01010001010000000000000515BI0100001112 |  |  | 1300000 | [49 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 440V AC Power Distribution Board as detailed in scope of work & specification of NIT (page Nos. 40-44) | BI01010001010000000000000515BI0100001113 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Surface type point wiring in PVC conduit on surface with 1.1KV grade single core PVC insulated stranded cu conductor wire in the following manner & sizes of wire as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001114 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | PVC conduit surface type point wiring of average length 2/3 Meters with 1.5 Sq.mm wire. | BI01010001010000000000000515BI0100001115 | 50 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | -do- 4/5 Meters. –do- | BI01010001010000000000000515BI0100001116 | 120 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | -do- 6/7 Meters. –do- | BI01010001010000000000000515BI0100001117 | 25 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | -do- 8/9 Meters. –do- | BI01010001010000000000000515BI0100001118 | 15 | points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Surface type submain wiring in PVC conduit on surface with 1.1KV grade single core PVC insulated stranded cu conductor wire in the following manner & sizes of wire as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001119 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | PVC conduit surface type submain wiring with 2.5 Sq.mm wire. | BI01010001010000000000000515BI0100001120 | 2500 | mtr.lenght |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | -do- 4.0 Sq.mm. –do- | BI01010001010000000000000515BI0100001121 | 200 | mtr.lenght |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | -do- 6.0 Sq.mm –do- | BI01010001010000000000000515BI0100001122 | 300 | mtr.lenght |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply & installation/Fixing of the following Items of Hager make including supply of installation accessories & consumables etc. required for work. | BI01010001010000000000000515BI0100001123 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | TPN DB 6way 4+18 modules Cat. No. VYT06DD | BI01010001010000000000000515BI0100001124 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | Vertical TPN DB (X160h3 MCCB incomer) (MCCB + outgoing modules). 8way, MCCB + 24 modules Cat No. VYV08PM | BI01010001010000000000000515BI0100001125 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.03 | 16A SP MCB 1 module Cat. No. NCN116N | BI01010001010000000000000515BI0100001126 | 196 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | 20A SP MCB 1 module Cat. No. NCN120N | BI01010001010000000000000515BI0100001127 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.05 | 63A FP isolating switch 4 modules Cat. No. SBR 463N | BI01010001010000000000000515BI0100001128 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supply & installation/ fixing of the following items including supply of installation accessories consumables etc. requirement for work. | BI01010001010000000000000515BI0100001129 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | 16A, 5 pin 230V AC combined plug & socket outlet with 16A switch & bakelite kit-kat fuses as detailed in scope of work & specification of NIT (page No. 40). | BI01010001010000000000000515BI0100001130 | 150 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | 20A 230V 2 Pin & earth metal clad plug & socket outlet with 32A 230V single pole MCB mounted on common sheet steel enclosure. The unit shall be of Legrand/L&T make & shall be installed on surface of wall. | BI01010001010000000000000515BI0100001131 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.03 | 240V AC Fan Regulator, Electronic type, Anchor make | BI01010001010000000000000515BI0100001132 | 40 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.04 | Garnet 20W slim LED Batten of Wipro Make. | BI01010001010000000000000515BI0100001133 | 120 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.05 | 110W High performance IP66 LED street light fitting of Wipro Make. | BI01010001010000000000000515BI0100001134 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supply & Installation including laying & dressing of the following LT power cables as detailed in scope of work & specification of NIT (page No. 41). | BI01010001010000000000000515BI0100001135 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | 1.1KV grade 3 ½ core × 50 sqmm, PVC/XLPE cables. | BI01010001010000000000000515BI0100001136 | 145 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.02 | 1.1KV grade 3 ½ core ×25 sqmm PVC/XLPE cables. | BI01010001010000000000000515BI0100001137 | 160 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Excavation of earth cable trench minimum 900mm deep and 450mm wide and supply & installation including underground laying/dressing of the following LT power cables as detailed in scope of work & specification of NIT (page No. 41). | BI01010001010000000000000515BI0100001138 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.02 | 1.1KV grade 3 ½ core × 95 sqmm, PVC/XLPE cables, | BI01010001010000000000000515BI0100001139 | 120 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Construction of the following earth stations with GI earth electrodes of min. 10 feet length B class medium guage as per IS : 3043 as detailed in scope of work & specification of NIT (page No. 41). | BI01010001010000000000000515BI0100001140 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | Earth station with 50mm dia single electrode in normal soil. | BI01010001010000000000000515BI0100001141 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supply & installation of GI earth strips/ wires in the following manner & sizes as detailed in scope of work & specification of NIT (page No. 41). | BI01010001010000000000000515BI0100001142 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | 25mm x 3mm GI Flats. | BI01010001010000000000000515BI0100001143 | 30 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Dismantling/disconnection/removal from the present location of the point wiring in the following manner as detailed in scope of work & specification of NIT (page No. 41). | BI01010001010000000000000515BI0100001144 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | Surface type casing caping/PVC conduit Wiring. | BI01010001010000000000000515BI0100001145 | 180 | Points |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information