## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Principal Investigator, P-07/768, Department of Extension Education, IAS BHU
Name of Work: Construction of DST Knowledge Center (DKC) With Attached Toilet at villages Paranapatti, Damdipur and Cholapur, Block-Cholapur in Varanasi district
Contract No: DST Project P-07/768/02
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Construction of DST Knowledge Center (DKC) With Attached Toilet at villages Paranapatti, Damdipur and Cholapur, Block-Cholapur in Varanasi district | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Construction of DST Knowledge center (single unit) at Village Paranapatti, Block Cholapur (40 km away from Varanasi city) with attached toilet having three feet deep foundation of brick work, all Wall thickness will be of nine-inch, size of room having (11'6'' X13'6'') height 10',Size of attached Indian style WC toilet having height 8' size (3'X4'), window in the room of size (3'6'' X 7') fixed in walls and painted after primer, One ventilator of 2’x1’ and door of 3’wide 7’’ height will be fixed in toilet, floor of room and toilet will be construct with 1:2:4 plain cement concrete above subbase, inside and outside walls of room and toilet will be plastered, one tap and one basin will be proved. Roof of room need to have steel sheet fixed on painted L- angles, one RCC computer platform of 2’x6’’wide and 6’long of 3’’ thick inside the room, 2’wide front apron will be provided around the one room unit. Walls of room and toilet will be whitewashed and outer wall will be painted with yellow and red colour. Room should have electric facility for two computers, one fan and three lights. | BI01010001010000000000000515BI0100001113 | 1 | Nos | 116000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Construction of DST Knowledge center (single unit)at Village Cholapur , Block Cholapur (38 km away from Varanasi city) with attached toilet having three feet deep foundation of brick work, all Wall thickness will be of nine-inch, size of room having (11'6'' X13'6'') height 10',Size of attached Indian style WC toilet having height 8' size (3'X4'), window in the room of size (3'6'' X 7') fixed in walls and painted after primer, One ventilator of 2’x1’ and door of 3’wide 7’’ height will be fixed in toilet, floor of room and toilet will be construct with 1:2:4 plain cement concrete above subbase, inside and outside walls of room and toilet will be plastered, one tap and one basin will be proved. Roof of room need to have steel sheet fixed on painted L- angles, one RCC computer platform of 2’x6’’wide and 6’long of 3’’ thick inside the room, 2’wide front apron will be provided around the one room unit. Walls of room and toilet will be whitewashed and outer wall will be painted with yellow and red colour. Room should have electric facility for two computers, one fan and three lights | BI01010001010000000000000515BI0100001114 | 1 | Nos | 116000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Construction of DST Knowledge center (single unit)at Village Damdipur, Block Cholapur (40 km away from Varanasi city) with attached toilet having three feet deep foundation of brick work, all Wall thickness will be of nine-inch, size of room having (11'6'' X13'6'') height 10',Size of attached Indian style WC toilet having height 8' size (3'X4'), window in the room of size (3'6'' X 7') fixed in walls and painted after primer, One ventilator of 2’x1’ and door of 3’wide 7’’ height will be fixed in toilet, floor of room and toilet will be construct with 1:2:4 plain cement concrete above subbase, inside and outside walls of room and toilet will be plastered, one tap and one basin will be proved. Roof of room need to have steel sheet fixed on painted L- angles, one RCC computer platform of 2’x6’’wide and 6’long of 3’’ thick inside the room, 2’wide front apron will be provided around the one room unit. Walls of room and toilet will be whitewashed and outer wall will be painted with yellow and red colour. Room should have electric facility for two computers, one fan and three lights. | BI01010001010000000000000515BI0100001129 | 1 | Nos | 116000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information